## Overview & Instructions
"WMP Mitigation Initiatives" Tab |  |  | "Utility Account Tracking" Tab
Field Name | Field Description | Additional Intructions
Mitigation Initiative Cost Reporting Identification Code | Unique to this Information-Only Submittal: Assign a new code for this WMP Cost Reporting Template for each mitigation initiative to allow for tracking across filings (GRC, WMP, SB884, etc.). Use the following to format to generate a unique code for each row: “[Utility Name Abbreviation]_123” (for example SDG&E_001). Type [MAT] Code, Business Planning Element, etc.). | Generated by Utility. | Provide current memorandum and balancing account status applicable to costs being tracked for each mitigation program activity that is present in the Quarterly Data Reports provided to the Office of Energy Infrastructure Safety.
Utility Initiative Tracking ID | Unique Mitigation Initiative Code Number from WMPs and QDRs. The “Utility Initiative Tracking ID” is a unique tracking ID for a given Initiative. This ID must match the "Utility Initiative Tracking ID" field for the same initiative in all QDR submissions for the initiative(s) entire lifecycle. This field should remain static even if WMP Initiative Category, WMP Initiative Activity, or WMP Section numbers change. Provide from Source: QDR/WMP. | Provide from Source: WMP.
WMP Mitigation Initiative Title | WMP Mitigation Initiative Title. | Provide from Source: WMP
WMP Mitigation Initiative Description | Brief WMP Mitigation Initiative activity description. | Provide from Source: WMP
WMP Initiative Category | Possible Values: • Community Outreach and Engagement • Emergency Preparedness • Grid Design, Operations, and Maintenance • Overview of Service Territory • Risk Methodology and Assessment • Situational Awareness and Forecasting • Vegetation Management and Inspections • Public Safety Power Shutoffs • Wildfire Mitigation Strategy Development | Select Category Value from pull-down menu
WMP Mitigation Initiative Cost Year 1 ($) | WMP Mitigation Initiative Cost – Year 1. | Modify Header with correct year (e.g., "2023")
(Recorded if available or forecasted)
WMP Mitigation Initiative Cost Year 2 ($) | WMP Mitigation Initiative Cost – Year 2. | Modify Header with correct year (e.g., "2024")
(Recorded if available or forecasted)
WMP Mitigation Initiative Cost Year 3 ($) | WMP Mitigation Initiative Cost – Year 3. | Modify Header with correct year (e.g., "2025")
(Recorded if available or forecasted)
WMP Mitigation Initiative Cost Total ($) | Total 3-year-WMP-cycle Mitigation Initiative Cost | Include 3-year total of combined recorded and forecasted costs.
(Recorded or Forecasted as available).
WMP Mitigation Initiative Page Number | WMP Mitigation Initiative Page Number of current year WMP.
WMP File Location (URL) | Link to the originally submitted WMP or WMP Update file
GRC Activity Title | GRC Mitigation Initiative Activity Title
GRC Activity Unique Code | GRC Mitigation Initiative Activity Unique Code
GRC Activity Description | Brief GRC Mitigation Initiative Activity Description
GRC Activity Section and Page Number | GRC Mitigation Initiative Activity Number of current GRC | IMPORTANT: As this field relates to "Utility WMP Mitigation Initiative" create additional fields duplicating on the "Utility WMP Mitigation Initiative" field as necessary.
GRC Appendix | Identify the workpapers associated with this GRC Activity
Cost Recovery Method | Example values include (add all relevant values): Distribution Method; Public Purpose Program
GRC File Location | Link to the originally submitted GRC file(s).
Costs approved in last GRC (202x) ($) | Costs approved in the currently applicable GRC.
Costs requested in next GRC (202y) ($) | Costs anticipated to be requested in a future GRC.
Costs Recovered via Application (Yr 1) ($) | Costs recovered for WMP year 1.
Costs Recovered via Application (Yr 2) ($) | Costs recovered for WMP year 2.
Costs Recovered via Application (Yr 3) ($) | Costs recovered for WMP year 3.
Unrecovered Costs ($) | WMP costs not recovered via GRC or Application.
SB 884 Activity Recorded Costs ($) | Total SB 884 Undergrounding recorded costs, to date, applicable to the specified WMP activity.
SB 884 Activity Forecasted Costs ($) | Total SB 884 Undergrounding forecasted costs for applicable to the specified WMP activity.
FERC or Other Recorded Costs ($) | Total recorded costs from this source applied to specified activity.
FERC or Other Forecasted Costs ($) | Total forecasted costs from this source applied to specified activity.
Other Funding Source ($) | Total recorded or forecast costs from this source applied to specified activity (e.g., federal or state grant). [Add additional fields for other funding sources as necessary.]
Cost-Benefit Ratio (CBR) ($) | Cost-Benefit Ratio of the mitigation initiative per D.22-12-027. For undergrounding benefits must relate to the mitigation of overhead line miles not underground miles mitigated.
Alternate Mitigation Initiative Activity | Alternative(s) analyzed when selecting this mitigation as most cost effective. [Add additional fields if more than one.]
Alternate Mitigation Initiative Cost Benefit Ratio (CBR) ($) | CBR for Alternative Activity not selected in lieu of the activity on this row. [add additional fields if more than one.]
Risk Spend Efficiency Calculation | Only if not providing CBR.
D.18-12-014 provides that the utilities are to provide a ranking of proposed mitigations by RSE as part of their GRC submission. In D.22-12-027, CPUC extended the requirement to develop RSEs from mitigations, proposed by utilities to address risks, to “controls,” which are programs or activities required by statute, regulations or prior Commission decisions. Energy Safety requires electric utilities to provide RSEs in their WMPs.
RAMP-related mitigations requested in GRC not in WMP | RAMP related wildfire mitigation activity titles that are requested in the GRC but are not part of the WMP.
Applicable Risk Model | Name of risk model used to calculate Cost-Benefit Ratio.
Applicable Risk Model Version | Version of risk model used to calculate Cost-Benefit Ratio.
High Fire Threat District Tier | Utility Service Territory CPUC High Fire Threat District Tier per D.17-01-009. Possible Values: • Non-HFTD • Zone 1 • Tier 2 • Tier 3 • All HFTD • All Areas
Comments | Comment field as needed for any explanatory notes.

## WMP Mitigation Initiatives
INITIAL DRAFT FOR DISCUSSION ONLY
[5 empty] | Cost Associated with the WMP Activity | [15 empty] | GRC Cost Recovery
Mitigation Initiative Cost Reporting Identification Code | Utility Initiative Tracking ID | WMP Mitigation Initiative Title | WMP Mitigation Initiative Description | WMP Mitigation Initiative Category | WMP Year 2023 CapEx ($) | WMP Year 2023 OpEx ($) | WMP Year 2024 CapEx ($) | WMP Year 2024 OpEx ($) | WMP Year 2025 CapEx ($) | WMP Year 2025 OpEx ($) | WMP Mitigation Initiative Cost Total ($) | WMP Mitigation Initiative Page Number | WMP File Location (URL) | GRC Activity Title | GRC Activity Unique Code | GRC Activity Description | GRC Activity Section and Page Number | GRC Appendix | GRC Cost Recovery Method | GRC File Location (URL) | Costs approved in last GRC (2021) ($000) | Revenue Requirement approved in last GRC (2021) ($000) | Costs requested in next GRC (2025) ($000) | Revenue Requirement requested in next GRC (2025) ($000) | Costs Recovered via Application (Yr 1 - 2021 WMVM) ($000) | Revenue Requirement Recovered via Application (Yr 1 - 2021 WMVM) ($000) | Costs Recovered via Application (Yr 2) ($000) | Revenue Requirement Recovered via Application (Yr 2) ($000) | CostsRecovered via Application (Yr 3) ($000) | Revenue Requirement Recovered via Application (Yr 3) ($000) | Unrecovered Costs ($000) | Unrecovered Revenue Requirement ($000) | SB 884 Activity Recorded Costs ($) | SB 884 Activity Forecasted Costs ($) | FERC or Other Recorded Costs ($) | FERC or Other Forecasted Costs ($) | Other Funding Source ($) | Cost-Benefit Ratio (CBR) ($) | Alternate Mitigation Initiative Title | Alternate Mitigation Initiative CBR ($) | Risk Spend Efficiency Calculation | RAMP-related mitigations requested in GRC not in WMP | Applicable Risk Model | Applicable Risk Model Version | High Fire Threat District Tier | Comments
| SH-1 | Wildfire Covered Conductor | The Wildfire Covered Conductor Program (WCCP) is a program in HFRA to replace existing bare wire with covered conductor (CC) along with other associated components such as fireresistant poles, composite crossarms, FR3 transformers143, wildlife covers, surge arresters, polymer insulators and vibration dampers, and is scoped based on the risk assessment and mitigation selection processes described in Sections 6 and 7. | System Hardening | 792048.7648 | 41.7389 | 781927 | 872.6131 | 489975.1394 | 898.6881 | 2065763.9444 | 251 | https://www.sce.com/sites/default/files/AEM/Wildfire%20Mitigation%20Plan/2023-2025/SCE%202023%20WMP%20R2-clean.pdf | Grid Hardening |  | Covered conductor refers to the primary conductor being “covered” with insulating materials to protect against the impacts of incidental contact. There are four components that comprise this type of covered conductor: the conductor, the conductor shield, the inner layer, and outer layer. | SCE04V05P2A, p.29 | WPSCE04V05P2, pp. 31-42 | Base Revenue/WRMBA | https://edisonintl.sharepoint.com/:b:/r/teams/Public/regpublic/Regulatory%20Documents/PD/CPUC/22023/SCE04V05P02A.pdf?csf=1&web=1&e=RRnstA | 3200187 | 437510 | 1045134.2626 | 2146784.7149 | [6 empty] | 3337425 | 125937 | 0 | 0 | 0 | 0 | 0 | 10.65 | Targeted Undergrounding, REFCL | Various | 1278 |  | IWMS | WRRM 6.0 | HFRA
| SH-2 | Targeted Undergrounding | Targeted Undergrounding (TUG) is a program to underground existing overhead power lines to significantly reduce wildfire and PSPS risk by significantly reducing the possibility for objects to contact energized conductor as well as greatly limiting the ignition-causing potential from equipment failures. | System Hardening | 16828.6513 |  | 60897.0168 |  | 317077.8319 |  | 394803.5 | 256 | https://www.sce.com/sites/default/files/AEM/Wildfire%20Mitigation%20Plan/2023-2025/SCE%202023%20WMP%20R2-clean.pdf | Grid Hardening |  | Undergrounding refers to the conversion of an existing overhead electric system, which consists of poles, wires, and related equipment, to underground facilities that consist of trenches containing conduit banks that house the wires, vaults, and/or pad mounts for transformers and other equipment. | SCE04V05P2A, p.9 | WPSCE04V05P2, pp. 25-31 | Base Revenue/GHBA | https://edisonintl.sharepoint.com/:b:/r/teams/Public/regpublic/Regulatory%20Documents/PD/CPUC/22023/SCE04V05P02A.pdf?csf=1&web=1&e=RRnstA | 146823 | 22806 | 3792190.3839 | 690279.6612 | 6605 | 1024 |  |  |  |  | 46672 | 7191 | 0 | 0 | 0 | 0 | 0 | 7.65 | Covered Conductor, REFCL | Various | 764 |  | IWMS | WRRM 6.0 | HFRA
| SA-1 | Weather Stations | Weather stations are used to provide critical situational awareness for PSPS decision‐making and help improve weather models. SCE’s weather stations provide data points such as temperature measurements, wind speeds, wind direction, dew point, and relative humidity. | Situational Awareness | 1912.2099 | 4151.4617 | 1171.3343 | 5590.881 | 447.9127 | 5949.893 | 19223.6927 | 454 | https://www.sce.com/sites/default/files/AEM/Wildfire%20Mitigation%20Plan/2023-2025/SCE%202023%20WMP%20R2-clean.pdf | Enhanced Situational Awareness |  | SCE’s weather stations provide data such as sustained wind speed, wind gust speed, direction of wind, humidity, and temperature, to name a few variables. | SCE04V05P4A, p. 74 | WPSCE04V05P4, pp. 70-91 |  | https://edisonintl.sharepoint.com/:b:/t/Public/regpublic/EfvNOSSafzVBuONoK8OuBtABFWk87GpdhIlrtKwEZQghhw | [17 empty] | 0.05 | N/A | N/A | 10 |  | IWMS | WRRM 6.0 | HFRA
| SA-3 | Weather and Fuels Modeling | Operational and historical weather, machine learning and fuels model output FPI and other key metrics | Situational Awareness | 291.3692 | 5237.6158 | 1e-07 | 5951.601 | 2500 | 5826.691 | 19807.277 | 217 | https://www.sce.com/sites/default/files/AEM/Wildfire%20Mitigation%20Plan/2023-2025/SCE%202023%20WMP%20R2-clean.pdf | Fire Science and Advanced Modeling |  | SCE continues to make important investments in fire spread modeling technology to help identify areas that are at high risk for large wildfires, which can have devastating consequences. | SCE04V05P4A, p. 89 | WPSCE04V05P4, pp. 92-112 |  | https://edisonintl.sharepoint.com/:b:/t/Public/regpublic/EfvNOSSafzVBuONoK8OuBtABFWk87GpdhIlrtKwEZQghhw | [17 empty] | 0.89 | N/A | N/A | 50 |  | IWMS | WRRM 6.0 | HFRA
| SA-8 | Fire Science Enhancements | Expand data analysis supporting wildfire mitigation efforts, advance fire potential forecasting further, and improve modeling efforts as it relates to fire science | Situational Awareness |  | 1870.1604 |  | 2360.264 |  | 3827.592 | 8058.0164 | 459 | https://www.sce.com/sites/default/files/AEM/Wildfire%20Mitigation%20Plan/2023-2025/SCE%202023%20WMP%20R2-clean.pdf | Fire Science and Advanced Modeling |  | SCE’s fire science enhancements are comprised of the continuation of the Santa Ana Wind Outlook and Self-Organizing Maps (SOMS). | SCE04V05P4A, p. 89 | WPSCE04V05P4, pp. 92-112 |  | https://edisonintl.sharepoint.com/:b:/t/Public/regpublic/EfvNOSSafzVBuONoK8OuBtABFWk87GpdhIlrtKwEZQghhw | [17 empty] | 1.31 | N/A | N/A | 73 |  | IWMS | WRRM 6.0 | HFRA
| SA-11 | Early Fault Detection (EFD) | EFD technology detects high frequency radio emissions that can occur from arcing or partial discharge conditions on the electric system. These types of conditions can be indicative of an incipient failure, such as severed strands on a conductor, vegetation contact, or deterioration of insulating material. | Situational Awareness | 2084.4459 | 39.8228 | 3521.5051 | 363 | 12067.7627 | 576 | 18652.5365 | 469 | https://www.sce.com/sites/default/files/AEM/Wildfire%20Mitigation%20Plan/2023-2025/SCE%202023%20WMP%20R2-clean.pdf | Early Fault Detection (EFD) |  | EFD technology detects high frequency radio emissions that can occur from arcing (high-energy discharge) or partial discharge (lower-energy discharge) conditions on the electric system. | SCE04V05P3A, p. 20 | WPSCE04V05P3, pp. 84-85 |  | https://edisonintl.sharepoint.com/:b:/t/Public/regpublic/ERQ9MA1ZBhFBh8BJwWHOpSgBe9O2KjaHs5t63Y2sQdXPlA | [17 empty] | 67.28 | N/A | N/A | 5490 |  | IWMS | WRRM 6.0 | HFRA
| SA-10 | High Definition (HD) Cameras | To support situational awareness with respect to fuel conditions, help inform PSPS decision-making, and have the ability to confirm smoke and/or fire in a location via an Artificial Intelligence pilot, SCE maintains a network of HD cameras | Situational Awareness | 257.8479 | 3192.7133 | 131 | 4664.823 | 0 | 4664.823 | 12911.2073 | 492 | https://www.sce.com/sites/default/files/AEM/Wildfire%20Mitigation%20Plan/2023-2025/SCE%202023%20WMP%20R2-clean.pdf | Enhanced Situational Awareness |  | HD camera live feed information is critical to fire agencies for effectively deploying air and ground resources to limit and contain fires in their early stages, as well as to SCE’s Fire Management team for gathering early information for asset protection | SCE04V05P4A, p. 74 | WPSCE04V05P4, pp. 70-91 |  | https://edisonintl.sharepoint.com/:b:/t/Public/regpublic/EfvNOSSafzVBuONoK8OuBtABFWk87GpdhIlrtKwEZQghhw | [17 empty] | N/A | N/A | N/A | N/A |  | IWMS | WRRM 6.0 | HFRA
| SH-4 | Branch Line Protection Strategy | Installation of Current Limiting Fuses (CLF) to reduce fault energy and lessen the amount and size of incandescent particles which decreases ignition risks. | System Hardening | 837.285 | 12.7858 | 0 | 0 | 0 | 0 | 850.0707 | 262 | https://www.sce.com/sites/default/files/AEM/Wildfire%20Mitigation%20Plan/2023-2025/SCE%202023%20WMP%20R2-clean.pdf | Fusing Mitigation |  | SCE’s fusing mitigation program installs and replaces existing fuses on smaller branch distribution lines within high fire risk areas. | SCE04V05P2A, p.113 | N/A |  | https://edisonintl.sharepoint.com/:b:/r/teams/Public/regpublic/Regulatory%20Documents/PD/CPUC/22023/SCE04V05P02A.pdf?csf=1&web=1&e=RRnstA | [17 empty] | N/A | N/A | N/A | N/A |  | IWMS | WRRM 6.0 | HFRA
| SH-5 | Remote Controlled Automatic Reclosers Settings Update | SH-5 is a program to install and update Remote Controlled Automatic Reclosers. The updates are to accommodate enhanced protective settings known as Fast Curves | System Hardening | 1525.941 | 0 | 2629.3675 | 0 | 7200.7925 | 0 | 11356.101 | 271 | https://www.sce.com/sites/default/files/AEM/Wildfire%20Mitigation%20Plan/2023-2025/SCE%202023%20WMP%20R2-clean.pdf | HFRA Sectionalizing Devices |  | Ongoing evaluations of HFRA sectionalizing settings to reduce the PSPS frequency, duration, and the number of customers impacted. | SCE04V05P2A, p.86 | WPSCE04V05P2, pp. 66-77 |  | https://edisonintl.sharepoint.com/:b:/r/teams/Public/regpublic/Regulatory%20Documents/PD/CPUC/22023/SCE04V05P02A.pdf?csf=1&web=1&e=RRnstA | [17 empty] | 31.42 | Circuit Breaker Relay Hardware for Fast Curve | 31.42 | 2830 |  | IWMS | WRRM 6.0 | HFRA
| SH-6 | Circuit Breaker Relay Hardware for Fast Curve | SCE upgrades old electromechanical relays with new microprocessor relays that can accommodate Fast Curve settings integration | System Hardening | 5539.9426 | 2904.4553 | 558.5271 | 1609.3015 | 0 | 1676.5649 | 12288.7914 | 273 | https://www.sce.com/sites/default/files/AEM/Wildfire%20Mitigation%20Plan/2023-2025/SCE%202023%20WMP%20R2-clean.pdf | HFRA Sectionalizing Devices |  | Performing upgrades to Circuit Breaker (CB) relay hardware to accommodate Fast Curve (FC) Settings, which reduce fault energy by increasing the speed with which a relay reacts to most fault currents. | SCE04V05P2A, p.86 | WPSCE04V05P2, pp. 66-77 |  | https://edisonintl.sharepoint.com/:b:/r/teams/Public/regpublic/Regulatory%20Documents/PD/CPUC/22023/SCE04V05P02A.pdf?csf=1&web=1&e=RRnstA | [17 empty] | 31.42 | Remote Controlled Automatic Reclosers Settings Update | 31.42 | N/A |  | IWMS | WRRM 6.0 | HFRA
| SH-8 | Transmission Open Phase Detection (TOPD) | TOPD technology allows de-energization of an open phase (broken conductor) on the transmission system before it contacts a grounded object resulting in a fault event. | System Hardening |  | 1038.5177 |  | 412.5 |  | 0 | 1451.0177 | 470 | https://www.sce.com/sites/default/files/AEM/Wildfire%20Mitigation%20Plan/2023-2025/SCE%202023%20WMP%20R2-clean.pdf | Alternative Technologies |  | Transmission Open Phase Detection (TOPD) is a technology that helps reduce ignition risks associated with the high voltage transmission system, by detecting and isolating a single open phase event that is the result of an energized line separating before it contacts the ground. | SCE04V05P3A, p. 12 | WPSCE04V05P3, pp. 77-78 |  | https://edisonintl.sharepoint.com/:b:/t/Public/regpublic/ERQ9MA1ZBhFBh8BJwWHOpSgBe9O2KjaHs5t63Y2sQdXPlA | [17 empty] | N/A | N/A | N/A | N/A |  | IWMS | WRRM 6.0 | HFRA
| SH-10 | Tree Attachment Remediation | This initiative entails removing the electrical equipment attached to trees and installing the equipment on new fire-resistant poles to reduce ignition driver risks | System Hardening | 13554.3275 |  | 17483.541 |  | 10569.5167 |  | 41607.3853 | 258 | https://www.sce.com/sites/default/files/AEM/Wildfire%20Mitigation%20Plan/2023-2025/SCE%202023%20WMP%20R2-clean.pdf | Grid Hardening |  | Installation of new poles in order to eliminate instances where existing electrical equipment, including overhead conductor, are attached to trees. | SCE04V05P2A, p.59 | WPSCE04V05P2, pp. 43-44 |  | https://edisonintl.sharepoint.com/:b:/r/teams/Public/regpublic/Regulatory%20Documents/PD/CPUC/22023/SCE04V05P02A.pdf?csf=1&web=1&e=RRnstA | [17 empty] | 10.18 | N/A | N/A | 2337 |  | IWMS | WRRM 6.0 | HFRA
| SH-14 | Long Span Initiative (LSI) | SCE’s Long Span Initiative is a program that addresses increased risk of conductor clash in high wind conditions associated with distribution conductor spans of a certain length, spans with mixed conductor, spans that have a sharp angle, or spans that transition between vertical and horizontal configuration | System Hardening | 1328.3822 | 1241.5845 | 4338.2195 | 4009.3694 | 4376.3478 | 4122.772 | 19416.6754 | 263 | https://www.sce.com/sites/default/files/AEM/Wildfire%20Mitigation%20Plan/2023-2025/SCE%202023%20WMP%20R2-clean.pdf | Long Span Initiative (LSI) |  | Long span remediations involve spans of wire exceeding a certain length, spans with mixed conductor, spans that have a sharp angle, or spans that transition between vertical and horizontal configuration. | SCE04V05P2A, p.103 | WPSCE04V05P2, pp. 91-96 |  | https://edisonintl.sharepoint.com/:b:/r/teams/Public/regpublic/Regulatory%20Documents/PD/CPUC/22023/SCE04V05P02A.pdf?csf=1&web=1&e=RRnstA | [17 empty] | 3.3 | Covered Conductor | 10.65 | 315 |  | IWMS | WRRM 6.0 | HFRA
| SH-15 | Vertical Switches | Vertical switch upgrades is a program to upgrade switches, which need replacement due to the potential to generate incandescent particles if not properly adjusted or constructed | System Hardening | 57.2488 | 0 | 0 | 0 | 0 | 0 | 57.2488 | 277 | https://www.sce.com/sites/default/files/AEM/Wildfire%20Mitigation%20Plan/2023-2025/SCE%202023%20WMP%20R2-clean.pdf | Vertical Switches |  | Replacement of certain switch configurations to reduce ignition probability. | SCE04V05P2A, p.86 | N/A |  | https://edisonintl.sharepoint.com/:b:/r/teams/Public/regpublic/Regulatory%20Documents/PD/CPUC/22023/SCE04V05P02A.pdf?csf=1&web=1&e=RRnstA | [17 empty] | N/A | N/A | N/A | N/A |  | IWMS | WRRM 6.0 | HFRA
| SH-16 | Vibration Damper Retrofit | SCE’s Vibration damper retrofit program aims to stop wind-driven vibration (known as Aeolian vibration) that may lead to conductor abrasion or fatigue over time | System Hardening | 64.4574 |  | 170.8098 |  | 244.1949 |  | 479.4621 | 254 | https://www.sce.com/sites/default/files/AEM/Wildfire%20Mitigation%20Plan/2023-2025/SCE%202023%20WMP%20R2-clean.pdf | Vibration Damper Retrofit |  | Vibration dampers can reduce wind-driven vibration (known as Aeolian vibration) that may lead to conductor abrasion or fatigue over time. | SCE04V05P2A, p.65 | WPSCE04V05P2, pp. 45-48 |  | https://edisonintl.sharepoint.com/:b:/r/teams/Public/regpublic/Regulatory%20Documents/PD/CPUC/22023/SCE04V05P02A.pdf?csf=1&web=1&e=RRnstA | [17 empty] | 14.6 | N/A | N/A | 18358 |  | IWMS | WRRM 6.0 | HFRA
| SH-17 | Rapid Earth Fault Current Limiters (REFCL) (Ground Fault Neutralizer) | A program that deploys technology that detects ground faults as small as a half ampere on one phase of a three-phase powerline. This technology almost instantly reduces the voltage on the faulted conductor while boosting the voltage on the two remaining phases | System Hardening | 18226.4251 | 0 | 30163.8177 | 175 | 40090.1401 | 250 | 88905.3829 | 474 | https://www.sce.com/sites/default/files/AEM/Wildfire%20Mitigation%20Plan/2023-2025/SCE%202023%20WMP%20R2-clean.pdf | Grid Hardening |  | The most widely deployed variant of REFCL technology for wildfire application is the GFN, consisting of an ASC, which cancels out most of the fault current in parallel with a residual current compensator (RCC) inverter to cancel out the remaining fault current. | SCE04V05P2A, p.73 | WPSCE04V05P2, pp. 51-65 |  | https://edisonintl.sharepoint.com/:b:/r/teams/Public/regpublic/Regulatory%20Documents/PD/CPUC/22023/SCE04V05P02A.pdf?csf=1&web=1&e=RRnstA | [17 empty] | 250.65 | Targeted Undergrounding | 7.65 | 20151 |  | IWMS | WRRM 6.0 | HFRA
| SH-18 | Rapid Earth Fault Current Limiters (REFCL) ​(Grounding Conversion) | Grounding conversion projects are utilized on smaller substations or applied at the distribution circuit level, rather than larger substations which are targeted by the REFCL GFN program. These projects convert the existing electric system to operate either ungrounded or resonant grounded without the use of the GFN. | System Hardening | 405.9056 | 4.0372 | 5714.3415 | 175 | 5705.9301 | 250 | 12255.2145 | 474 | https://www.sce.com/sites/default/files/AEM/Wildfire%20Mitigation%20Plan/2023-2025/SCE%202023%20WMP%20R2-clean.pdf | Grid Hardening |  | Grounding conversion projects typically transition from traditional solidly grounded systems to resonant and ungrounded systems, which reduce fault energy and increase fault detection sensitivity. | SCE04V05P2A, p.73 | WPSCE04V05P2, pp. 51-65 |  | https://edisonintl.sharepoint.com/:b:/r/teams/Public/regpublic/Regulatory%20Documents/PD/CPUC/22023/SCE04V05P02A.pdf?csf=1&web=1&e=RRnstA | [17 empty] | 250.65 | Targeted Undergrounding | 7.65 | 20151 |  | IWMS | WRRM 6.0 | HFRA
| IN-1.1.A | Distribution High Fire Risk‐Informed (HFRI) Inspections and Remediations (Ground) | To identify equipment or structure degradation that occurs between compliance cycles that could lead to a potential ignition risk, SCE conducts more frequent and ignition-focused risk inspections in HFRA beyond GO 165 requirements | Grid Design Ops Maintenance | 67645.8818 | 78711.0986 | 116392.985 | 113845.3878 | 113200.7379 | 116157.2534 | 605953.3445 | 282 | https://www.sce.com/sites/default/files/AEM/Wildfire%20Mitigation%20Plan/2023-2025/SCE%202023%20WMP%20R2-clean.pdf | High Fire Risk Inspections and Remediations |  | Performing ground inspections help detect equipment and structure conditions that are difficult to identify via aerial inspections (e.g., aerial inspections do not inspect spans), such as damaged wood pole | SCE04V05P3A, p.32 | WPSCE04V05P3, pp. 158-159, 163-165 |  | https://edisonintl.sharepoint.com/:b:/t/Public/regpublic/ERQ9MA1ZBhFBh8BJwWHOpSgBe9O2KjaHs5t63Y2sQdXPlA | [17 empty] | 7.04 | N/A | 7.04 | 800 |  | IWMS | WRRM 6.0 | HFRA
| IN-1.1.B | Distribution High Fire Risk‐Informed (HFRI) Inspections and Remediations (Aerial) | SCE performs aerial detailed visual inspections via helicopter or drone in HFRA to supplement ground-based inspections to identify deterioration or unfavorable asset conditions, such as a damaged pole top | Grid Design Ops Maintenance |  | 2502.9477 |  | 0 |  | 0 | 2502.9477 | 282 | https://www.sce.com/sites/default/files/AEM/Wildfire%20Mitigation%20Plan/2023-2025/SCE%202023%20WMP%20R2-clean.pdf | High Fire Risk Inspections and Remediations |  | Aerial inspections help to detect equipment and structure conditions that are difficult to detect via ground inspections such as deterioration on the 1 top of a distribution crossarm or a missing cotter key on a large transmission structure | SCE04V05P3A, p.32 | WPSCE04V05P3, pp. 158-159, 163-165 |  | https://edisonintl.sharepoint.com/:b:/t/Public/regpublic/ERQ9MA1ZBhFBh8BJwWHOpSgBe9O2KjaHs5t63Y2sQdXPlA | [17 empty] | 7.04 | N/A | 7.04 | 800 |  | IWMS | WRRM 6.0 | HFRA
| IN-1.2.A | Transmission High Fire Risk‐Informed (HFRI) Inspections and Remediations​ (Ground) | To identify asset conditions that may lead to malfunction or failure, SCE’s Transmission Inspection and Maintenance Program (TIMP) performs visual detailed inspections of overhead transmission and sub‐transmission assets | Grid Design Ops Maintenance | 16465.0645 | 6572.8668 | 20270.355 | 8447.2547 | 21789.5181 | 9681.4999 | 83226.5589 | 289 | https://www.sce.com/sites/default/files/AEM/Wildfire%20Mitigation%20Plan/2023-2025/SCE%202023%20WMP%20R2-clean.pdf | High Fire Risk Inspections and Remediations |  | Inspections are identified by a combination of compliance requirements, risk-informed assessment, or through the AOCs. Each inspection is performed by either a Transmission Senior Patrolman or Lineman, both of which are Qualified Electrical Workers (QEWs). | SCE04V05P3A, p.32 | WPSCE04V05P3, pp. 160-162, 166-168 |  | https://edisonintl.sharepoint.com/:b:/t/Public/regpublic/ERQ9MA1ZBhFBh8BJwWHOpSgBe9O2KjaHs5t63Y2sQdXPlA | [17 empty] | 2.45 | N/A | 1.51 | 188 |  | IWMS | WRRM 6.0 | HFRA
| IN-1.2.B | Transmission High Fire Risk‐Informed (HFRI) Inspections and Remediations​ (Aerial) | Aerial inspections are typically performed at the same locations as ground inspections and in combination provides a 360-degree view of the assets to detect equipment/structure conditions that are difficult to identify via ground inspections, such as missing cotter keys, which could lead to faults and ignitions | Grid Design Ops Maintenance | 0 | 16781.3816 | 329.4738 | 11438.2461 | 332.0347 | 11508.3203 | 40389.4565 | 289 | https://www.sce.com/sites/default/files/AEM/Wildfire%20Mitigation%20Plan/2023-2025/SCE%202023%20WMP%20R2-clean.pdf | High Fire Risk Inspections and Remediations |  | Structures are examined by qualified contracted resources (i.e., QEW) and the results are analyzed and documented. A condition assessor inspects the aerial photographs of the assets, assessing the structural and equipment condition while recording answers to questions to an inspection form | SCE04V05P3A, p.32 | WPSCE04V05P3, pp. 160-162, 166-168 |  | https://edisonintl.sharepoint.com/:b:/t/Public/regpublic/ERQ9MA1ZBhFBh8BJwWHOpSgBe9O2KjaHs5t63Y2sQdXPlA | [17 empty] | 1.51 | N/A | 2.45 | 188 |  | IWMS | WRRM 6.0 | HFRA
| IN-3 | Infrared Inspection of Energized Overhead Distribution Facilities and Equipment | Using IR technology to detect thermal differences and identify hot splices and connectors can be leading indicators of asset failure | Grid Design Ops Maintenance |  | 575.1342 |  | 475.1461 |  | 475.8312 | 1526.1115 | 297 | https://www.sce.com/sites/default/files/AEM/Wildfire%20Mitigation%20Plan/2023-2025/SCE%202023%20WMP%20R2-clean.pdf | Infrared Inspection Program |  | The IR scan can detect temperature differences between components and identify heat signatures of components called “hot spots” that may indicate deterioration in structures and equipment not visible to the naked eye | SCE04V05P3A, p.58 | WPSCE04V05P3, pp. 121-126 |  | https://edisonintl.sharepoint.com/:b:/t/Public/regpublic/ERQ9MA1ZBhFBh8BJwWHOpSgBe9O2KjaHs5t63Y2sQdXPlA | [17 empty] | 0.01 | N/A | 7.04 | 1 |  | IWMS | WRRM 6.0 | HFRA
| IN-4 | Infrared Inspection, Corona Scanning, and High-Definition Imagery of Energized Overhead Transmission Facilities and Equipment | Specialized infrared and ultraviolet (Corona) light cameras are mounted to helicopters, which inspect the line, with special attention paid to splices, conductor connection/attachment points, and insulators | Grid Design Ops Maintenance |  | 78.5326 |  | 103.5423 |  | 104.8851 | 286.96 | 300 | https://www.sce.com/sites/default/files/AEM/Wildfire%20Mitigation%20Plan/2023-2025/SCE%202023%20WMP%20R2-clean.pdf | Infrared Inspection Program |  | Specialized infrared and ultraviolet (Corona) light cameras are mounted to helicopters, which inspect the line, with special attention paid to splices, conductor connection/attachment points, and insulators | SCE04V05P3A, p.60 | WPSCE04V05P3, pp. 121-126 |  | https://edisonintl.sharepoint.com/:b:/t/Public/regpublic/ERQ9MA1ZBhFBh8BJwWHOpSgBe9O2KjaHs5t63Y2sQdXPlA | [17 empty] | 0.08 | N/A | 1.51 | 16 |  | IWMS | WRRM 6.0 | HFRA
| IN-5 | Generation High Fire Risk-Informed Inspections and Remediations in HFRA | SCE inspections relevant generation‐related assets in HFRA, including powerhouses, substations, and low‐voltage ancillary assets to identify needed remediations to reduce the risk of wildfire ignition | Grid Design Ops Maintenance |  | 67.1963 |  | 280 |  | 280 | 627.1963 | 303 | https://www.sce.com/sites/default/files/AEM/Wildfire%20Mitigation%20Plan/2023-2025/SCE%202023%20WMP%20R2-clean.pdf | High Fire Risk Inspections and Remediations |  | SCE also performed inspection and remediation work on certain legacy utility-owned hydroelectric generation assets located within HFRA, such as powerhouses | SCE04V05P3A, p.32 | WPSCE04V05P3, pp. 112-114 |  | https://edisonintl.sharepoint.com/:b:/t/Public/regpublic/ERQ9MA1ZBhFBh8BJwWHOpSgBe9O2KjaHs5t63Y2sQdXPlA | [17 empty] | 5.53 | N/A | N/A | N/A |  | IWMS | WRRM 6.0 | HFRA
| IN-8 | Inspection and Maintenance Tools | Evaluate and update the inspection form regarding distribution and transmission high fire risk-informed (HFRI) inspections to reduce time required for data capture while still capturing critical information and incorporating lessons learned of potential failure modes | Grid Design Ops Maintenance | 6388.0369 | 1965.95 | 4448.077 | 1231.5548 | 2318.1125 | 812.3923 | 17164.1235 | 244 | https://www.sce.com/sites/default/files/AEM/Wildfire%20Mitigation%20Plan/2023-2025/SCE%202023%20WMP%20R2-clean.pdf | High Fire Risk Inspections and Remediations |  | SCE continues to maintain accounting of its technology development and implementation efforts for HFRI Inspections in the Technology Support Tools sub-activity. The technology solutions in support of the HFRI Inspections efforts are broken down into three wildfire mitigation workstreams: Inspections, Data Governance, and Remediation | SCE04V05P3A, p.95 | WPSCE04V05P3, pp. 127-132, 145-157 |  | https://edisonintl.sharepoint.com/:b:/t/Public/regpublic/ERQ9MA1ZBhFBh8BJwWHOpSgBe9O2KjaHs5t63Y2sQdXPlA | [17 empty] | N/A | N/A | N/A | N/A |  | IWMS | WRRM 6.0 | HFRA
| IN-9 | Transmission Conductor & Splice Assessment: Spans with LineVue and Splices with X-Ray | To reduce transmission conductor wire down events, SCE is using transmission conductor and splice assessment methods to identify anomalies and any underlying issues in order to replace or remediate conductors and/or splices that have a higher probability of failure | Grid Design Ops Maintenance | 0 | 1417.8475 | 0 | 1759.2686 | 542.6902 | 1793.0857 | 5512.892 | 305 | https://www.sce.com/sites/default/files/AEM/Wildfire%20Mitigation%20Plan/2023-2025/SCE%202023%20WMP%20R2-clean.pdf | High Fire Risk Inspections and Remediations |  | LineVue determines the deterioration of the steel core cross-sectional area of the conductor steel core and detects any localized breaks or corrosion pits on the steel wires and loss of zinc galvanized layer. X-ray inspections are used on conductor splices to verify proper installation and identify broken strands or deformities | SCE04V05P3A, p.54 | WPSCE04V05P3, pp. 133-144, 160-162, 166-168 |  | https://edisonintl.sharepoint.com/:b:/t/Public/regpublic/ERQ9MA1ZBhFBh8BJwWHOpSgBe9O2KjaHs5t63Y2sQdXPlA | [17 empty] | 6.19 | N/A | N/A | N/A |  | IWMS | WRRM 6.0 | HFRA
| VM-1 | Hazard Tree Mitigation Program​ | SCE’s HTMP is a wildfire mitigation program performed in SCE’s HFRA designed to reduce fall-in or blow-in risk to SCE’s electrical assets posed by green or live trees with specific conditions | Vegetation Management |  | 5126.2024 |  | 49896.4756 |  | 44036.5776 | 99059.2555 | 418 | https://www.sce.com/sites/default/files/AEM/Wildfire%20Mitigation%20Plan/2023-2025/SCE%202023%20WMP%20R2-clean.pdf | Wildfire Vegetation Management |  | HTMP entails more detailed inspection and evaluation of trees in the USZ and outside of the routine line clearing inventory in HFRA. The program is designed to help SCE identify trees not targeted by other vegetation management programs that may be hazardous to SCE’s assets and that are not at risk of growing into the regulatory clearance distance | SCE02V10A, p.66 | WPSCE02V10A, pp. 6-8 |  | https://edisonintl.sharepoint.com/:b:/t/Public/regpublic/Ee1GlHGftqRBrpvkFrqyefgBwruOdrKgjNsPUEwxdTWNpQ | [17 empty] | 0.17 | N/A | N/A | 8 |  | IWMS | WRRM 6.0 | HFRA
| VM-2 | Structure Brushing | SCE removes vegetation around all poles and structures subject to PRC 4292 in State Responsibility Areas, while targeting additional Distribution poles outside of these areas in HFRA for risk mitigation | Vegetation Management |  | 12459.7711 |  | 25915.3922 |  | 26196.7627 | 64571.926 | 408 | https://www.sce.com/sites/default/files/AEM/Wildfire%20Mitigation%20Plan/2023-2025/SCE%202023%20WMP%20R2-clean.pdf | Distribution and Transmission Routine Vegetation Management |  | SCE’s Structure Brushing program utilizes dedicated structure brushing crews to annually inspect, document, and clear vegetation surrounding poles and towers. | SCE02V10A, p. 79 | WPSCE02V10A, pp. 94-99 |  | https://edisonintl.sharepoint.com/:b:/t/Public/regpublic/Ee1GlHGftqRBrpvkFrqyefgBwruOdrKgjNsPUEwxdTWNpQ | [17 empty] | 96.77 | N/A | N/A | 9415 |  | IWMS | WRRM 6.0 | HFRA
| VM-3 | Expanded Clearances for Generation Legacy Facilities | Many of SCE’s energized legacy facilities, including powerhouses and switchyards, are located in or near heavily forested areas.Therefore, this initiative seeks to reduce the risk of vegetation contact associated with these facilities | Vegetation Management |  | 594.8371 |  | 830 |  | 450 | 1874.8371 | 416 | https://www.sce.com/sites/default/files/AEM/Wildfire%20Mitigation%20Plan/2023-2025/SCE%202023%20WMP%20R2-clean.pdf | Fire Hazard Prevention |  | SCE performs expanded clearance on legacy facilities with the goal of removing or clearing additional vegetation using the standard remediation methods of trims, removals, and/or weed abatement to render the defensible space around a facility even more vegetation-free | SCE02V10A, p. 40 | WPSCE02V10A, pp. 43-48 |  | https://edisonintl.sharepoint.com/:b:/t/Public/regpublic/Ee1GlHGftqRBrpvkFrqyefgBwruOdrKgjNsPUEwxdTWNpQ | [17 empty] | 5.53 | N/A | N/A | N/A |  | IWMS | WRRM 6.0 | HFRA
| VM-4 | Dead and Dying Tree Removal | SCE conducts patrols in HFRA to identify and remove dead, dying, or diseased trees affected by drought conditions and/or insect infestation. All trees that are identified within strike distance of SCE overhead facilities that are dead or expected to die within one year are prescribed for removal. | Vegetation Management |  | 20523.3769 |  | 27601.4867 |  | 28685.6521 | 76810.5157 | 419 | https://www.sce.com/sites/default/files/AEM/Wildfire%20Mitigation%20Plan/2023-2025/SCE%202023%20WMP%20R2-clean.pdf | Dead, Dying and Diseased Tree Removal |  | SCE proactively removes dead, dying, and diseased trees that could fall on or contact SCE’s electrical facilities | SCE02V10A, p. 74 | WPSCE02V10A, pp. 85-90 |  | https://edisonintl.sharepoint.com/:b:/t/Public/regpublic/Ee1GlHGftqRBrpvkFrqyefgBwruOdrKgjNsPUEwxdTWNpQ | [17 empty] | 0.22 | N/A | N/A | 13 |  | IWMS | WRRM 6.0 | HFRA
| VM-6 | Vegetation Management Work Management Tool (Arbora) | Vegetation work management tool used to assign routing and non-routine work activity. | Vegetation Management | 8334.2959 | 1862.9517 | 2746.924 | 4000.0344 | 2436.5738 | 4200 | 23580.7798 | 378 | https://www.sce.com/sites/default/files/AEM/Wildfire%20Mitigation%20Plan/2023-2025/SCE%202023%20WMP%20R2-clean.pdf | Wildfire Management and Vegetation Management Technology Solutions |  | Vegetation Management software solution that aims at integrating programs across the organization to streamline vegetation-related work efforts that can overlap across large geographic areas | SCE02V10A, p. 105 | WPSCE02V10A, pp. 116-123 |  | https://edisonintl.sharepoint.com/:b:/t/Public/regpublic/Ee1GlHGftqRBrpvkFrqyefgBwruOdrKgjNsPUEwxdTWNpQ | [17 empty] | N/A | N/A | N/A | N/A |  | IWMS | WRRM 6.0 | HFRA
| VM-7 | Detailed Inspections for the Prescription, Where Necessary and Feasible, of Expanded Vegetation Clearances from Distribution Lines in HFRA | SCE performs expanded line clearances to mitigate the risk of vegetation contact with energized conductors due to grow-in or blow-in potential. | Vegetation Management |  | 175186.3788 |  | 216394.4521 |  | 224987.5458 | 616568.3766 | 412 | https://www.sce.com/sites/default/files/AEM/Wildfire%20Mitigation%20Plan/2023-2025/SCE%202023%20WMP%20R2-clean.pdf | Distribution Routine Vegetation Management |  | Inspections to identify vegetation that requires trimming or removal to meet program requirements regarding vegetation clearance distances from the lines. | SCE02V10A, p. 23 | WPSCE02V10A, pp. 11-16 |  | https://edisonintl.sharepoint.com/:b:/t/Public/regpublic/Ee1GlHGftqRBrpvkFrqyefgBwruOdrKgjNsPUEwxdTWNpQ | [17 empty] | 0.07 | N/A | N/A | N/A |  | IWMS | WRRM 6.0 | HFRA
| VM-8 | Detailed Inspections for the Prescription, Where Necessary and Feasible, of Expanded Vegetation Clearances from Transmission Lines in HFRA | SCE performs expanded line clearances to mitigate the risk of vegetation contact with energized conductors due to grow-in or blow-in potential. | Vegetation Management |  | 9674.1542 |  | 21120.4586 |  | 20956.4507 | 51751.0636 | 412 | https://www.sce.com/sites/default/files/AEM/Wildfire%20Mitigation%20Plan/2023-2025/SCE%202023%20WMP%20R2-clean.pdf | Transmission Routine Vegetation Management |  | Inspections to identify vegetation that requires trimming or removal to meet program requirements regarding vegetation clearance distances from the lines. | SCE02V10A, p. 23 | WPSCE02V10A, pp. 17-22 |  | https://edisonintl.sharepoint.com/:b:/t/Public/regpublic/Ee1GlHGftqRBrpvkFrqyefgBwruOdrKgjNsPUEwxdTWNpQ | [17 empty] | 0.07 | N/A | N/A | N/A |  | IWMS | WRRM 6.0 | HFRA
| VM-9 | LiDAR Distribution Vegetation Inspections | LiDAR is a surveying inspection method that measures distance to a target by illuminating the target with pulsed laser light and measuring the reflected pulses with a sensor. Differences in laser return times are then used to make digital three-dimensional representations of field conditions at the time of survey. | Vegetation Management |  | 1267.8455 |  | 1497.9074 |  | 44467.4829 | 47233.2357 | 380 | https://www.sce.com/sites/default/files/AEM/Wildfire%20Mitigation%20Plan/2023-2025/SCE%202023%20WMP%20R2-clean.pdf | Distribution Routine Vegetation Management |  | SCE has currently operationalized the use of remote sensing in the form of LiDAR technology to inspect lines to maintain appropriate clearances between SCE’s lines and vegetation in accordance with regulations. | SCE02V10A, p. 27 | WPSCE02V10A, pp. 32-35 |  | https://edisonintl.sharepoint.com/:b:/t/Public/regpublic/Ee1GlHGftqRBrpvkFrqyefgBwruOdrKgjNsPUEwxdTWNpQ | [17 empty] | N/A | Detailed Inspections for the Prescription, Where Necessary and Feasible, of Expanded Vegetation Clearances from Distribution Lines in HFRA | 0.07 | N/A |  | IWMS | WRRM 6.0 | HFRA
| VM-10 | LiDAR Transmission Vegetation Inspections | LiDAR is a surveying inspection method that measures distance to a target by illuminating the target with pulsed laser light and measuring the reflected pulses with a sensor. Differences in laser return times are then used to make digital three-dimensional representations of field conditions at the time of survey. | Vegetation Management |  | 7012.231 |  | 5789.542 |  | 11131.5381 | 23933.3111 | 381 | https://www.sce.com/sites/default/files/AEM/Wildfire%20Mitigation%20Plan/2023-2025/SCE%202023%20WMP%20R2-clean.pdf | Transmission Routine Vegetation Management |  | SCE has currently operationalized the use of remote sensing in the form of LiDAR technology to inspect lines to maintain appropriate clearances between SCE’s lines and vegetation in accordance with regulations. | SCE02V10A, p. 27 | WPSCE02V10A, pp. 32-35 |  | https://edisonintl.sharepoint.com/:b:/t/Public/regpublic/Ee1GlHGftqRBrpvkFrqyefgBwruOdrKgjNsPUEwxdTWNpQ | [17 empty] | N/A | Detailed Inspections for the Prescription, Where Necessary and Feasible, of Expanded Vegetation Clearances from Transmission Lines in HFRA | 0.07 | N/A |  | IWMS | WRRM 6.0 | HFRA
| PSPS-2 | Customer Care Programs (Critical Care Backup Battery Program) | This program supports all customers enrolled in Medical baseline (MBL) that reside in a HFRA to provide a battery-powered portable backup solution to operate critical medical equipment during power outages due to PSPS events or other emergencies | PSPS |  | 12894.7043 |  | 8507.3949 |  | 8669.8163 | 30071.9156 | 572 | https://www.sce.com/sites/default/files/AEM/Wildfire%20Mitigation%20Plan/2023-2025/SCE%202023%20WMP%20R2-clean.pdf | PSPS Customer Support |  | The CCBB program addresses the needs of SCE’s Medical Baseline Allowance (MBL) program customers residing in HFRA by fully funding the cost of portable backup battery to operate medical equipment during PSPS events | SCE04V05P4A, p.29 | WPSCE04V05P4, pp. 15-35 |  | https://edisonintl.sharepoint.com/:b:/t/Public/regpublic/EfvNOSSafzVBuONoK8OuBtABFWk87GpdhIlrtKwEZQghhw | [17 empty] | 0.17 | Customer Care Programs (Portable Power Station and Generator Rebates) | N/A | 9.8 |  | IWMS | WRRM 6.0 | HFRA
| PSPS-3 | Customer Care Programs (Portable Power Station and Generator Rebates) | These programs provide rebates to customers for purchasing a portable power station for their general home or small business resiliency needs | PSPS |  | 1221.226 |  | 1521.0489 |  | 1391.1478 | 4133.4227 | 572 | https://www.sce.com/sites/default/files/AEM/Wildfire%20Mitigation%20Plan/2023-2025/SCE%202023%20WMP%20R2-clean.pdf | PSPS Customer Support |  | The Portable Power Station Rebate Program was initiated when SCE identified the need for customers to utilize battery backup to power small electronics including lighting, TVs, routers and modems, as well as the ability to charge devices such as cell phones, laptops and tablets in the event of an extended outage or a PSPS event. The Portable Generator Rebate program assists customers living in HFRA communities whose electrical needs extend beyond the limited power supply offered by a portable power station by offsetting the cost of purchasing a portable generator | SCE04V05P4A, p.35-36 | WPSCE04V05P4, pp. 15-35 |  | https://edisonintl.sharepoint.com/:b:/t/Public/regpublic/EfvNOSSafzVBuONoK8OuBtABFWk87GpdhIlrtKwEZQghhw | [17 empty] | 0.09 | Customer Care Programs (Critical Care Backup Battery Program) | N/A | 4 |  | IWMS | WRRM 6.0 | HFRA
| DEP-1 | Wildfire Safety Community Meetings | SCE holds wildfire safety community meetings throughout SCE’s service area, prioritizing HFRA, to share information about SCE’s wildfire mitigation plan, grid hardening updates, PSPS, and emergency preparedness, and an additional focus on SCE’s programs, services, and resources | Community Outreach |  | 77.1664 |  | 109.5975 |  | 132.0521 | 318.8159 | 585 | https://www.sce.com/sites/default/files/AEM/Wildfire%20Mitigation%20Plan/2023-2025/SCE%202023%20WMP%20R2-clean.pdf | PSPS Customer Support |  | SCE holds wildfire safety community meetings to share information about its Wildfire Mitigation Plan (WMP), PSPS, customer programs, and emergency preparedness resources | SCE04V05P4A, p.37 | WPSCE04V05P4, pp. 15-35 |  | https://edisonintl.sharepoint.com/:b:/t/Public/regpublic/EfvNOSSafzVBuONoK8OuBtABFWk87GpdhIlrtKwEZQghhw | [17 empty] | N/A | Customer Research and Education | N/A | N/A |  | IWMS | WRRM 6.0 | HFRA
| DEP-2 | SCE Emergency Response Training | SCE develops technical training programs that prepare employees to perform their jobs safely, comply with regulatory requirements and laws, maintain system reliability, and leverage new technology. SCE conducts specific training on an annual basis to adequately train employees and field workers responsible for restoration of power after emergencies | Community Outreach |  | 467.282 |  | 1124.4525 |  | 1193.4487 | 2785.1832 | 540 | https://www.sce.com/sites/default/files/AEM/Wildfire%20Mitigation%20Plan/2023-2025/SCE%202023%20WMP%20R2-clean.pdf | Training Seat Time - Transmission and Distribution | [23 empty] | N/A | N/A | N/A | N/A |  | IWMS | WRRM 6.0 | HFRA
| DEP-4 | Customer Research and Education | SCE seeks to improve its understanding of how to reduce impacts of wildfires, PSPS, and wildfire mitigation work for its customers. SCE develops surveys to capture customer feedback on SCE’s wildfire mitigation initiatives with a special emphasis on PSPS activities | Community Outreach |  | 2565.265 |  | 4356.7621 |  | 4337.2199 | 11259.247 | 586 | https://www.sce.com/sites/default/files/AEM/Wildfire%20Mitigation%20Plan/2023-2025/SCE%202023%20WMP%20R2-clean.pdf | PSPS Customer Support |  | SCE conducts extensive customer research to understand customers’ attitudes/opinions about PSPS-related experiences – and then to determine how best to educate customers at the right time and through the right channels regarding wildfire mitigation and preparedness activities | SCE04V05P4A, p.32 | WPSCE04V05P4, pp. 15-35 |  | https://edisonintl.sharepoint.com/:b:/t/Public/regpublic/EfvNOSSafzVBuONoK8OuBtABFWk87GpdhIlrtKwEZQghhw | [17 empty] | N/A | Wildfire Safety Community Meetings | N/A | N/A |  | IWMS | WRRM 6.0 | HFRA
| DEP-5 | Aerial Suppression | Due to the limited availability of fire suppression resources available statewide, SCE partners with Los Angeles, Ventura, and Orange Counties to fund the stand-by time of aerial suppression resources to reduce wildfire risk to SCE’s system and help protect SCE’s infrastructure and communities. | Emergency Preparedness |  | 34674.605 |  | 35000 |  | 35000 | 104674.605 | 556 | https://www.sce.com/sites/default/files/AEM/Wildfire%20Mitigation%20Plan/2023-2025/SCE%202023%20WMP%20R2-clean.pdf | Aerial Surpression |  | Due to the limited availability of fire suppression resources available statewide, in 2021 SCE partnered with Los Angeles, Ventura, and Orange Counties to support their proposal to fund the stand-by time of aerial suppression resources to reduce wildfire risk to SCE’s system and help protect SCE’s infrastructure and communities | SCE04V05P4A, p.67 | WPSCE04V05P4, pp. 60-69 |  | https://edisonintl.sharepoint.com/:b:/t/Public/regpublic/EfvNOSSafzVBuONoK8OuBtABFWk87GpdhIlrtKwEZQghhw | 0 | 0 | 135778.2596 | 135778.2596 | 17545 | 17545 |  |  |  |  | 18200 | 18200 | 0 | 0 |  |  |  | 7.05 | N/A | N/A | 614 |  | IWMS | WRRM 6.0 | HFRA
| DG-1.A | Wildfire Safety Data Mart and Data Management (Ezy) | LIDAR data management in support of Veg Mgmt and asset inspections | Grid Design Ops Maintenance | 3074.459 | 1130.034 | 3937.4607 | 2451.628 | 1491.2964 | 2950 | 15034.8781 | 245 | https://www.sce.com/sites/default/files/AEM/Wildfire%20Mitigation%20Plan/2023-2025/SCE%202023%20WMP%20R2-clean.pdf | High Fire Risk Inspections and Remediations |  | SCE has built a centralized, unstructured, cloud data repository, called the EzyData platform to store petabytes of data collected as part of SCE’s wildfire mitigation initiatives | SCE04V05P4A, p.95 | WPSCE04V05P4, pp. 152 |  | https://edisonintl.sharepoint.com/:b:/t/Public/regpublic/EfvNOSSafzVBuONoK8OuBtABFWk87GpdhIlrtKwEZQghhw | [17 empty] | N/A | N/A | N/A | N/A |  | IWMS | WRRM 6.0 | HFRA
| DG-1.B | Wildfire Safety Data Mart and Data Management -WiSDM | Enable semi-automated data aggregation and validations of Wildfire Data for SCE's Quarterly Data Request (QDR) submission and external portal for external data sharing | Grid Design Ops Maintenance | 4562.192 | 86.8634 | 1524.0718 | 2162.2 | 1015.2391 | 2162.2 | 11512.7663 | 245 | https://www.sce.com/sites/default/files/AEM/Wildfire%20Mitigation%20Plan/2023-2025/SCE%202023%20WMP%20R2-clean.pdf | High Fire Risk Inspections and Remediations |  | The WiSDM platform collects data from many legacy enterprise platforms that contain asset inspection, PSPS, and other wildfire mitigation work management data, replacing the need for manual collection of data from individual systems | SCE04V05P4A, p.103 | WPSCE04V05P4, pp. 156-157 |  | https://edisonintl.sharepoint.com/:b:/t/Public/regpublic/EfvNOSSafzVBuONoK8OuBtABFWk87GpdhIlrtKwEZQghhw | [17 empty] | N/A | N/A | N/A | N/A |  | IWMS | WRRM 6.0 | HFRA
Note on V4: Christopher Benitez: Pursuant Prelim Statement CCCC
Note on Z4: Christopher Benitez: AL 5267

## Pivot Mapping
Utility Initiative Tracking ID | (Multiple Items) | [5 empty] | 2021 GRC Track 4 Costs |  |  |  | 2025 GRC |  |  |  |  | 2025 GRC
[6 empty] | Wildfire Management | 2024 | 2024 | 2024 Total | % Allocation | 2025 | 2025 | 2025 Total | % Allocation |  | 2025 | 2025 | 2025 Total | % Allocation
GRC Activity Title | WMP Mitigation Initiative Title | Sum of WMP Year 2024 CapEx ($) | Sum of WMP Year 2024 OpEx ($) | Sum of WMP Year 2025 CapEx ($) | Sum of WMP Year 2025 OpEx ($) | GRC Activity | CapEx | O&M |  |  | CapEx | O&M |  |  |  | CapEx | O&M
Aerial Surpression
| Aerial Suppression | 0 | 35000 | 0 | 35000 |  |  | #VALUE! | #VALUE! | #VALUE! |  | 35000 | 35000 | 100% |  |  | 35000 | 35000 | 100%
Alternative Technologies | [8 empty] | 0 | 0% |  |  | 0 |  |  |  |  | 0
| Transmission Open Phase Detection (TOPD) | 0 | 412.5 | 0 | 0 |  |  | #VALUE! | #VALUE! | #VALUE! | 15998.9764 | 1000.2101 | 16999.1865 | 0% |  | 15998.9764 | 1000.2101 | 16999.1865 | 0%
Dead, Dying and Diseased Tree Removal | [7 empty] | #VALUE! | #VALUE! | #VALUE! |  |  | 0 |  |  |  |  | 0
| Dead and Dying Tree Removal | 0 | 27601.4867 | 0 | 28685.6521 |  |  | #VALUE! | #VALUE! | #VALUE! |  | 35698.9219 | 35698.9219 | 80.35% |  |  | 35698.9219 | 35698.9219 | 80.35%
Distribution and Transmission Routine Vegetation Management | [8 empty] | 0 | 0% |  |  | 0 |  |  |  |  | 0
| Structure Brushing | 0 | 25915.3922 | 0 | 26196.7627 |  |  | #VALUE! | #VALUE! | #VALUE! |  |  | 0 |  |  |  |  | 0
Distribution Routine Vegetation Management | [8 empty] | 0 | 0% |  |  | 0 |  |  |  |  | 0
| Detailed Inspections for the Prescription, Where Necessary and Feasible, of Expanded Vegetation Clearances from Distribution Lines in HFRA | 0 | 216394.4521 | 0 | 224987.5458 |  |  | #VALUE! | #VALUE! | #VALUE! |  | 494530.3651 | 494530.3651 | 45.5% |  |  | 494530.3651 | 494530.3651 | 45.5%
| LiDAR Distribution Vegetation Inspections | 0 | 1497.9074 | 0 | 44467.4829 |  |  |  | 0 | #VALUE! |  |  | 0 | 8.992% |  |  |  | 0 | 8.992%
Early Fault Detection (EFD) | [8 empty] | 0 | 0% |  |  | 0 |  |  |  |  | 0
| Early Fault Detection (EFD) | 3521.5051 | 363 | 12067.7627 | 576 |  |  | #VALUE! | #VALUE! | #VALUE! |  |  | 0 |  |  |  |  | 0
Enhanced Situational Awareness | [8 empty] | 0 | 0% |  |  | 0 |  |  |  |  | 0
| High Definition (HD) Cameras | 131 | 4664.823 | 0 | 4664.823 |  | 2023.4803 | #VALUE! | #VALUE! | #VALUE! | 485.5736 | 10175.6065 | 10661.1801 | 43.76% |  | 485.5736 | 10175.6065 | 10661.1801 | 43.76%
| Weather Stations | 1171.3343 | 5590.881 | 447.9127 | 5949.893 |  |  |  | 0 | 0% |  |  | 0 | 60.01% |  |  |  | 0 | 60.01%
Fire Hazard Prevention | [8 empty] | 0 | 0% |  |  | 0 |  |  |  |  | 0
| Expanded Clearances for Generation Legacy Facilities | 0 | 830 | 0 | 450 |  |  | #VALUE! | #VALUE! | #VALUE! |  | 1101.2395 | 1101.2395 | 40.86% |  |  | 1101.2395 | 1101.2395 | 40.86%
Fire Science and Advanced Modeling | [8 empty] | 0 | 0% |  |  | 0 |  |  |  |  | 0
| Fire Science Enhancements | 0 | 2360.264 | 0 | 3827.592 |  |  | #VALUE! | #VALUE! | #VALUE! | 2710.2019 | 7153.4592 | 9863.6611 | 38.8% |  | 2710.2019 | 7153.4592 | 9863.6611 | 38.8%
| Weather and Fuels Modeling | 1e-07 | 5951.601 | 2500 | 5826.691 |  |  |  | 0 | 0% |  |  | 0 | 84.42% |  |  |  | 0 | 84.42%
Fusing Mitigation | [8 empty] | 0 | 0% |  |  | 0 |  |  |  |  | 0
| Branch Line Protection Strategy | 0 | 0 | 0 | 0 |  |  | #VALUE! | #VALUE! | #VALUE! |  |  | 0 |  |  |  |  | 0
Grid Hardening | [8 empty] | 0 | 0% |  |  | 0 |  |  |  |  | 0
| Targeted Undergrounding | 45996.143 |  | 387526.7511 |  |  |  | #VALUE! | #VALUE! | #VALUE! | 387526.7511 | 798.9439 | 388325.6949 | 99.79% |  | 387526.7511 | 798.9439 | 388325.6949 | 99.79%
| Tree Attachment Remediation | 17483.541 | 0 | 10569.5167 | 0 |  |  |  | 0 | 0% |  |  | 0 | 2.722% |  |  |  | 0 | 2.722%
| Wildfire Covered Conductor | 1284487 | [6 empty] | 0 | 0% |  |  | 0 |  |  |  |  | 0
HFRA Sectionalizing Devices | [8 empty] | 0 | 0% |  |  | 0 |  |  |  |  | 0
| Circuit Breaker Relay Hardware for Fast Curve | 558.5271 | 1609.3015 | 0 | 1676.5649 |  | 0 | #VALUE! | #VALUE! | #VALUE! | 7806.2405 | 492.9642 | 8299.2047 | 20.2% |  | 7806.2405 | 492.9642 | 8299.2047 | 20.2%
| Remote Controlled Automatic Reclosers Settings Update | 2629.3675 | 0 | 7200.7925 | 0 |  |  |  | 0 | 0% |  |  | 0 | 86.76% |  |  |  | 0 | 86.76%
High Fire Risk Inspections and Remediations | [8 empty] | 0 | 0% |  |  | 0 |  |  |  |  | 0
| Distribution High Fire Risk‐Informed (HFRI) Inspections and Remediations (Aerial) | 0 | 0 | 0 | 0 |  |  | #VALUE! | #VALUE! | #VALUE! | 149237.1152 | 121484.0679 | 270721.1831 | 0% |  | 149237.1152 | 121484.0679 | 270721.1831 | 0%
| Distribution High Fire Risk‐Informed (HFRI) Inspections and Remediations (Ground) | 116392.985 | 113845.3878 | 113200.7379 | 116157.2534 |  |  |  | 0 | 0% |  |  | 0 | 84.72% |  |  |  | 0 | 84.72%
| Generation High Fire Risk-Informed Inspections and Remediations in HFRA | 0 | 280 | 0 | 280 |  |  |  | 0 | 0% |  |  | 0 | 0.1034% |  |  |  | 0 | 0.1034%
| Inspection and Maintenance Tools | 4448.077 | 1231.5548 | 2318.1125 | 812.3923 |  |  |  | 0 | 0% |  |  | 0 | 1.156% |  |  |  | 0 | 1.156%
| Transmission Conductor & Splice Assessment: Spans with LineVue and Splices with X-Ray | 0 | 1759.2686 | 542.6902 | 1793.0857 |  |  |  | 0 | 0% |  |  | 0 | 0.8628% |  |  |  | 0 | 0.8628%
| Transmission High Fire Risk‐Informed (HFRI) Inspections and Remediations​ (Aerial) | 329.4738 | 11438.2461 | 332.0347 | 11508.3203 |  |  |  | 0 | 0% |  |  | 0 | 4.374% |  |  |  | 0 | 4.374%
| Transmission High Fire Risk‐Informed (HFRI) Inspections and Remediations​ (Ground) | 20270.355 | 8447.2547 | 21789.5181 | 9681.4999 |  |  |  | 0 | 0% |  |  | 0 | 11.62% |  |  |  | 0 | 11.62%
| Wildfire Safety Data Mart and Data Management (Ezy) | 3937.4607 | 2451.628 | 1491.2964 | 2950 |  |  |  | 0 | 0% |  |  | 0 | 1.641% |  |  |  | 0 | 1.641%
| Wildfire Safety Data Mart and Data Management -WiSDM | 1524.0718 | 2162.2 | 1015.2391 | 2162.2 |  |  |  | 0 | 0% |  |  | 0 | 1.174% |  |  |  | 0 | 1.174%
Infrared Inspection Program | [8 empty] | 0 | 0% |  |  | 0 |  |  |  |  | 0
| Infrared Inspection of Energized Overhead Distribution Facilities and Equipment | 0 | 475.1461 | 0 | 475.8312 |  |  | #VALUE! | #VALUE! | #VALUE! |  | 539.7917 | 539.7917 | 88.15% |  |  | 539.7917 | 539.7917 | 88.15%
| Infrared Inspection, Corona Scanning, and High-Definition Imagery of Energized Overhead Transmission Facilities and Equipment | 0 | 103.5423 | 0 | 104.8851 |  |  |  | 0 | 0% |  |  | 0 | 19.43% |  |  |  | 0 | 19.43%
Long Span Initiative (LSI) | [8 empty] | 0 | 0% |  |  | 0 |  |  |  |  | 0
| Long Span Initiative (LSI) | 4338.2195 | 4009.3694 | 4376.3478 | 4122.772 |  |  | #VALUE! | #VALUE! | #VALUE! |  |  | 0 |  |  |  |  | 0
PSPS Customer Support | [8 empty] | 0 | 0% |  |  | 0 |  |  |  |  | 0
| Customer Care Programs (Critical Care Backup Battery Program) | 0 | 8507.3949 | 0 | 8669.8163 |  | 5530.4755 | #VALUE! | #VALUE! | #VALUE! |  | 38213.0121 | 38213.0121 | 14.49% |  |  | 38213.0121 | 38213.0121 | 14.49%
| Customer Care Programs (Portable Power Station and Generator Rebates) | 0 | 1521.0489 | 0 | 1391.1478 | PSPS Execution |  | #VALUE! | #VALUE! | #VALUE! |  | 21638.0313 | 21638.0313 | 2.324% |  |  | 21638.0313 | 21638.0313 | 2.324%
| Customer Research and Education | 0 | 4356.7621 | 0 | 4337.2199 |  |  |  | 0 | 0% |  |  | 0 | 7.247% |  |  |  | 0 | 7.247%
| Wildfire Safety Community Meetings | 0 | 109.5975 | 0 | 132.0521 |  |  |  | 0 | 0% |  |  | 0 | 0.2206% |  |  |  | 0 | 0.2206%
Rapid Earth Fault Current Limiters (REFCL) | [8 empty] | 0 | 0% |  |  | 0 |  |  |  |  | 0
| Rapid Earth Fault Current Limiters (REFCL) ​(Grounding Conversion) | 5714.3415 | 175 | 5705.9301 | 250 |  |  | #VALUE! | #VALUE! | #VALUE! |  |  | 0 | #DIV/0! |  |  |  | 0 | #DIV/0!
| Rapid Earth Fault Current Limiters (REFCL) (Ground Fault Neutralizer) | 30163.8177 | 175 | 40090.1401 | 250 |  |  |  | 0 | 0% |  |  | 0 | #DIV/0! |  |  |  | 0 | #DIV/0!
Training Seat Time - Transmission and Distribution | [8 empty] | 0 | 0% |  |  | 0 |  |  |  |  | 0
| SCE Emergency Response Training | 0 | 1124.4525 | 0 | 1193.4487 |  |  | #VALUE! | #VALUE! | #VALUE! |  | 1273.2474 | 1273.2474 | 93.73% |  |  | 1273.2474 | 1273.2474 | 93.73%
Transmission Routine Vegetation Management | [8 empty] | 0 | 0% |  |  | 0 |  |  |  |  | 0
| Detailed Inspections for the Prescription, Where Necessary and Feasible, of Expanded Vegetation Clearances from Transmission Lines in HFRA | 0 | 21120.4586 | 0 | 20956.4507 | Transmission Routine Vegetation Management |  | #VALUE! | #VALUE! | #VALUE! |  | 34798.782 | 34798.782 | 60.22% |  |  | 34798.782 | 34798.782 | 60.22%
| LiDAR Transmission Vegetation Inspections | 0 | 5789.542 | 0 | 11131.5381 |  |  |  | 0 | 0% |  |  | 0 | 31.99% |  |  |  | 0 | 31.99%
Vertical Switches | [8 empty] | 0 | 0% |  |  | 0 |  |  |  |  | 0
| Vertical Switches | 0 | 0 | 0 | 0 |  |  |  | 0 | 0% |  |  | 0 |  |  |  |  | 0
Vibration Damper Retrofit | [8 empty] | 0 | 0% |  |  | 0 |  |  |  |  | 0
| Vibration Damper Retrofit | 170.8098 | 0 | 244.1949 | 0 |  |  |  | 0 | 0% |  |  | 0 | #DIV/0! |  |  |  | 0 | #DIV/0!
Wildfire Management and Vegetation Management Technology Solutions | [8 empty] | 0 | 0% |  |  | 0 |  |  |  |  | 0
| Vegetation Management Work Management Tool (Arbora) | 2746.924 | 4000.0344 | 2436.5738 | 4200 |  |  |  | 0 | 0% | 12934.5161 | 16011.1846 | 28945.7008 | 22.93% |  | 12934.5161 | 16011.1846 | 28945.7008 | 22.93%
Wildfire Vegetation Management | [8 empty] | 0 | 0% |  |  | 0 |  |  |  |  | 0
| Hazard Tree Mitigation Program​ | 0 | 49896.4756 | 0 | 44036.5776 |  |  | #VALUE! | #VALUE! | #VALUE! |  | 55212.8211 | 55212.8211 | 79.76% |  |  | 55212.8211 | 55212.8211 | 79.76%
Grand Total |  | 1546014.9538 | 571170.9734 | 613855.5515 | 628905.4984 | [10 empty] | 576699.3748 | 875122.6485 | 1451822.0233
[15 empty] | WCCP | #REF!
[15 empty] | Environmental Programs |  | #REF!
[15 empty] | Ethics and Compliance |  | #REF!
[15 empty] | Organizational Support |  | #REF!
[15 empty] | Supplemental System Hardening Activites |  | #REF!
[15 empty] | Wildfire Work Order Related Expense |  | #REF!
[16 empty] | #REF! | #REF!
[16 empty] | #REF! | #REF!

## SCE Account Tracking
[7 empty] | GRC Authorized Revenue Requirement (Entered Rates) |  | GRC Authorized Revenue Requirement (Yet to Enter Rates) |  | Recorded Costs (Entered Rates) |  | Recorded Costs (Yet to Enter Rates) |  | Non-GRC Recorded Costs (Entered Rates) |  | Non-GRC Recorded Costs (Yet to Enter Rates) |  | Pending GRC Revenue Requests |  | Pending Non-GRC Revenue Requests |  | Account Total | Third-Party or Other Funding Source | Wildfire Mitigation Program Total | Notes
Wildfire Mitigation | Wildfire Mitigation Category | Balancing or Memorandum Account Name | CPUC Proceeding Number | CPUC Decision Number | SCE Accounting Number | Any Other ID Number | GRC Authorized CapEx (In Rates) | GRC Authorized O&M (In Rates) | GRC Authorized CapEx (Yet to Enter Rates) | GRC Authorized O&M (Yet to Enter Rates) | Recorded Costs CapEx (In Rates) | Recorded O&M (In Rates) | Recorded CapEx (Yet to Enter Rates) | Recorded O&M (Yet to Enter Rates) | Non-GRC Recorded CapEx (In Rates) | Non-GRC Recorded O&M (In Rates) | Non-GRC Recorded CapEx (Yet to Enter Rates) | Non-GRC Recorded O&M (Yet to Enter Rates) | Pending GRC CapEx | Pending GRC O&M | Pending Non-GRC CapEx | Pending Non-GRC O&M
Long Span Initiative | System Hardening | Grid Hardening Balancing Account (GHBA) | a) A.23-05-010 | Pending | Pending | Pending |  |  |  |  | 103609.886 |  | 2569.966 | [9 empty] | 106179.852
Long Span Initiative | System Hardening | Revenue Requirement Est. | [8 empty] | 16059.5323 |  | 391.9198
WCCP | System Hardening | Base Revenue Requirement Balancing Account (BRRBA) | a) A.19-08-013 | a) D.21-08-036 / D.23-11-096 | P9019 | N/A | 3200188 |  |  |  | 3200188 |  | 2501488 | [5 empty] | 1045134.2626 |  |  |  | 4245322.2626 |  |  | See Description tab.
WCCP | System Hardening | Grid Hardening Balancing Account (GHBA) | a) A.23-05-010 | Pending | Pending | Pending
WCCP | System Hardening | Wildfire Risk Mitigation Balancing Account (WRMBA) | a) A.19-08-013 b) A.23-05-010 c) A.24-04-005 | a) D.21-08-036 / D.23-11-096 b) N/A (Pending) c) N/A (Pending) | P9301 / P9290 | N/A |  |  |  |  | 0 |  | 835937 | [9 empty] | 835937
WCCP | System Hardening | Revenue Requirement Est. |  |  |  |  | 437510 |  |  |  | 437510 |  | 125937 | [5 empty] | 2146784.7149
TUG | System Hardening | Base Revenue Requirement Balancing Account (BRRBA) | a) A.19-08-013 | a) D.21-08-036 / D.23-11-096 | P9019 | N/A | 146823.0159 | [15 empty] | 146823.0159
TUG | System Hardening | Grid Hardening Balancing Account (GHBA) | a) A.23-05-010 | Pending | Pending | Pending | [12 empty] | 3792190.3839 |  |  |  | 3792190.3839
TUG | System Hardening | Wildfire Plan Mitigation Memorandum Account (WMPMA) | a) A.22-06-003 b) A.23-05-010 c) A.23-10-001 d) A.24-04-005 | a) D.24-03-008 b) N/A (Pending) c) N/A (Pending) d)N/A (Pending) | P9232 | N/A |  |  |  |  | 6605 |  | 46672.0667 | [9 empty] | 53277.0667
TUG | System Hardening | Revenue Requirement Est. |  |  |  |  | 22805.5777 |  |  |  | 1023.775 |  | 7191.4577 | [5 empty] | 690279.6612
Rapid Earth Fault Current Limiter (REFCL) | System Hardening | Grid Hardening Balancing Account (GHBA) | a) A.23-05-010 | Pending | Pending | Pending
Enhanced overhead inspections and remediations | Inspection & Maintenance | Base Revenue Requirement Balancing Account (BRRBA) | a) A.19-08-013 | a) D.21-08-036 / D.23-11-096 | P9019 | N/A | 220496.0793 | 297634.7916 | [10 empty] | 588206.1522 | 487796.7441 | 1359.625 | 46409.1992 | CPUC = 1594134 / FERC = 47769 |  |  | Please note that the Non-GRC (FERC) Authorized Revenue Requirements are not recorded into BRRBA but handled through a spearate process when entered into rates. It was placed in this line to reduce the complexity of the table.
Enhanced overhead inspections and remediations | Inspection & Maintenance | Grid Hardening Balancing Account (GHBA) | [16 empty] | 2282.8893 | 0 |  |  | 2282.8893
Enhanced overhead inspections and remediations | Inspection & Maintenance | Wildfire Plan Mitigation Memorandum Account (WMPMA) | a) A.22-06-003 b) A.23-05-010 c) A.23-10-001 d) A.24-04-005 | a) D.24-03-008 b) N/A (Pending) c) N/A (Pending) d)N/A (Pending) | P9232 | N/A |  |  |  |  | 135046 | 105846 | 245976.1533 | 212453.6491 | 498 | 11949 | 1673.6144 | 20276.2216 |  |  |  |  | CPUC = 699322 / FERC = 34397
Enhanced overhead inspections and remediations | Inspection & Maintenance | Fire Risk Mitigation Memorandum Account (FRMMA) | a) A.22-06-003 b) A.23-05-010 c) A.23-10-001 d) A.24-04-005 | a) D.24-03-008 b) N/A (Pending) c) N/A (Pending) d)N/A (Pending) | P9255 | N/A |  |  |  |  | 0 | 545 | 0 | 6.6847 | 0 | 0 | 0 | 5.0205 |  |  |  |  | CPUC = 552 / FERC = 5
Enhanced overhead inspections and remediations | Inspection & Maintenance | Revenue Requirement Est. |  |  |  |  | 34486.007 | 297634.7916 |  |  | 20932.13 | 106391 | 37855.5209 | 212460.3338 | 77.19 | 11949 | 256.5537 | 20281.2421 | 414488.2529 | 487796.7441 | 215.5006 | 46409.1992
Public Safety Power Shutoffs | PSPS | Base Revenue Requirement Balancing Account (BRRBA) | a) A.19-08-013 | a) D.21-08-036 / D.23-11-096 | P9019 | N/A | 5921.3766 | 86577.6258 | [11 empty] | 87405.8663 |  | 6055.7347 | CPUC = 179905 / FERC = 6056
Public Safety Power Shutoffs | PSPS | Wildfire Plan Mitigation Memorandum Account (WMPMA) | a) A.22-06-003 b) A.23-05-010 c) A.23-10-001 d) A.24-04-005 | a) D.24-03-008 b) N/A (Pending) c) N/A (Pending) d)N/A (Pending) | P9232 | N/A |  |  |  |  | 3306 | 20235 | 9674.3282 | 60575.2434 |  | 429 |  | 1445.0267 |  |  |  |  | CPUC = 93791 / FERC = 1874
Public Safety Power Shutoffs | PSPS | Revenue Requirement Est. |  |  |  |  | 937.17 | 86577.6258 |  |  | 512.43 | 20235 | 1490.0251 | 60575.2434 |  | 429 |  | 1445.0267 |  | 87405.8663 |  | 6055.7347
Enhanced situational awareness | Situational Awareness & Forecasting | Base Revenue Requirement Balancing Account (BRRBA) | a) A.19-08-013 | a) D.21-08-036 / D.23-11-096 | P9019 | N/A | 2023.4803 | 15695.7062 | [10 empty] | 1013.4262 | 40442.7042 |  | 3092.8729 | CPUC = 59175 / FERC = 3093
Enhanced situational awareness | Situational Awareness & Forecasting | Wildfire Plan Mitigation Memorandum Account (WMPMA) | a) A.22-06-003 b) A.23-05-010 c) A.23-10-001 d) A.24-04-005 | a) D.24-03-008 b) N/A (Pending) c) N/A (Pending) d)N/A (Pending) | P9232 | N/A |  |  |  |  | 5600 | 5600 | 5153.0578 | 13374.9296 | 0 | 146 | 531 | 364.7255 | 0 | 0 |  |  | CPUC = 29728 / FERC = 1042
Enhanced situational awareness | Situational Awareness & Forecasting | Revenue Requirement Est. |  |  |  |  | 320.7216 | 15695.7062 |  |  | 868 | 5600 | 793.2988 | 13374.9296 | 0 | 146 | 82.305 | 364.7255 | 653.8924 | 40442.7042 |  | 3092.8729
Aerial suppression | Emergency Preparedness | Wildfire Plan Mitigation Memorandum Account (WMPMA) | a) A.22-06-003 b) A.23-05-010 c) A.23-10-001 d) A.24-04-005 | a) D.24-03-008 b) N/A (Pending) c) N/A (Pending) d)N/A (Pending) | P9232 | N/A | [5 empty] | 17545 |  | 18200 | [5 empty] | 135778.2596 |  |  | CPUC = 35745 / FERC = 0
Alternative/Emerging technologies (e.g., ground fault neutralizers) | System Hardening | Base Revenue Requirement Balancing Account (BRRBA) | [16 empty] | 119100.0088 | 67465.5003 |  | 4634.9371 | CPUC = 186566 / FERC = 4635
Alternative/Emerging technologies (e.g., ground fault neutralizers) | System Hardening | Wildfire Plan Mitigation Memorandum Account (WMPMA) | a) A.22-06-003 b) A.23-05-010 c) A.23-10-001 d) A.24-04-005 | a) D.24-03-008 b) N/A (Pending) c) N/A (Pending) d)N/A (Pending) | P9232 | N/A |  |  |  |  | 5694 | 502 | 36855.3457 | 1311.7527 | 0 | 444 | 0 | 1047.0422 |  |  |  |  | CPUC = 44363 / FERC = 1491
Alternative/Emerging technologies (e.g., ground fault neutralizers) | System Hardening | Fire Risk Mitigation Memorandum Account (FRMMA) | a) A.22-06-003 b) A.23-05-010 c) A.23-10-001 d) A.24-04-005 | a) D.24-03-008 b) N/A (Pending) c) N/A (Pending) d)N/A (Pending) | P9255 | N/A | [6 empty] | 0 | 575.2797 | 0 | 0 | 0 | 338.8651
Alternative/Emerging technologies (e.g., ground fault neutralizers) | System Hardening | Revenue Requirement Est. | [8 empty] | 882.57 | 502 | 5660.8252 | 1887.0324 | 0 | 444 | 0 | 1385.9074 | 83897.9377 | 67465.5003 |  | 4634.9371
Sectionalizing devices | System Hardening | Base Revenue Requirement Balancing Account (BRRBA) | a) A.22-06-003 b) A.23-05-010 c) A.23-10-001 d) A.24-04-005 | a) D.24-03-008 b) N/A (Pending) c) N/A (Pending) d)N/A (Pending) | P9232 | N/A | 8277.8823 | [7 empty] | 91 | 2 | 882 | 0 | 26740.7052 | 1997.3175 |  |  | CPUC = 37016 / FERC = 0
Sectionalizing devices | System Hardening | Wildfire Plan Mitigation Memorandum Account (WMPMA) | [8 empty] | 7915 | 12 | 24130.8006 | 3931.4553 | [8 empty] | CPUC = 35989 / FERC = 0
Sectionalizing devices | System Hardening | Revenue Requirement Est. |  |  |  |  | 1283.0718 |  |  |  | 1226.825 | 12 | 3724.5096 | 3931.4553 | 14.105 | 2 | 136.4425 | 0 | 2558.4184 | 1997.3175
Community Outreach and Engagement | Stakeholder Cooperation and Community Engagement | Base Revenue Requirement Balancing Account (BRRBA) | a) A.22-06-003 b) A.23-05-010 c) A.23-10-001 d) A.24-04-005 | a) D.24-03-008 b) N/A (Pending) c) N/A (Pending) d)N/A (Pending) | P9232 | N/A |  | 61996.7566 | [11 empty] | 149636.7922 |  | 2243.6895 | CPUC = 211634 / FERC = 2244
Community Outreach and Engagement | Stakeholder Cooperation and Community Engagement | Wildfire Plan Mitigation Memorandum Account (WMPMA) | [8 empty] | 11206 | 37274 | 22101.4121 | 73449.8529 |  | 181 |  | 707.1618 |  |  |  |  | CPUC = 144031 / FERC = 888
Community Outreach and Engagement | Stakeholder Cooperation and Community Engagement | Revenue Requirement Est. | [5 empty] | 61996.7566 |  |  | 1736.93 | 37274 | 3403.6303 | 73449.8529 |  | 181 |  | 707.1618 |  | 149636.7922 |  | 2243.6895
Emergency Preparedness | Stakeholder Cooperation and Community Engagement | Base Revenue Requirement Balancing Account (BRRBA) | a) A.22-06-003 b) A.23-05-010 c) A.23-10-001 d) A.24-04-005 | a) D.24-03-008 b) N/A (Pending) c) N/A (Pending) d)N/A (Pending) | P9232 | N/A | 2630.4578 | 16762.2696 | [10 empty] | 6552.0567 | 28394.1492 |  | 2171.455 | CPUC = 54339 / FERC = 2171
Emergency Preparedness | Stakeholder Cooperation and Community Engagement | Wildfire Plan Mitigation Memorandum Account (WMPMA) | [8 empty] | 3497 | 5596 | 1057.3692 | 13593.2911 |  | 174 |  | 613.0656 |  |  |  |  | CPUC = 23744 / FERC = 787
Emergency Preparedness | Stakeholder Cooperation and Community Engagement | Revenue Requirement Est. |  |  |  |  | 414.8834 | 16762.2696 |  |  | 542.035 | 5596 | 163.1638 | 13593.2911 |  | 174 |  | 613.0656 | 4548.0773 | 28394.1492 |  | 2171.455
Grid Design, Operations, and Maintenance | System Hardening | Base Revenue Requirement Balancing Account (BRRBA) | a) A.22-06-003 b) A.23-05-010 c) A.23-10-001 d) A.24-04-005 | a) D.24-03-008 b) N/A (Pending) c) N/A (Pending) d)N/A (Pending) | P9232 | N/A |  | 3756.404 | [11 empty] | 23316.5306 |  |  | CPUC = 27073 / FERC = 0
Grid Design, Operations, and Maintenance | System Hardening | Wildfire Plan Mitigation Memorandum Account (WMPMA) | [8 empty] | 7965 | 616 | 701.2281 | 877.0054 | [8 empty] | CPUC = 10159 / FERC = 0
Grid Design, Operations, and Maintenance | Situational Awareness & Forecasting / System Hardening | Revenue Requirement Est. | [5 empty] | 3756.404 |  |  | 1234.575 | 616 | 108.5473 | 877.0054 | [5 empty] | 23316.5306
Overview of Service Territory | Stakeholder Cooperation and Community Engagement | Wildfire Plan Mitigation Memorandum Account (WMPMA) | a) A.22-06-003 b) A.23-05-010 c) A.23-10-001 d) A.24-04-005 | a) D.24-03-008 b) N/A (Pending) c) N/A (Pending) d)N/A (Pending) | P9232 | N/A | [5 empty] | 10604 | 0 | 12675.7242 | [7 empty] | 1543.2766 | CPUC = 23280 / FERC = 0
Overview of Service Territory | Stakeholder Cooperation and Community Engagement | Base Revenue Requirement Balancing Account (BRRBA) | [5 empty] | 22963.362 | [7 empty] | 48 |  | 173.9794 |  | 24300.8867 |  |  | CPUC = 47264 / FERC = 0
Overview of Service Territory | Stakeholder Cooperation and Community Engagement | Revenue Requirement Est. | [5 empty] | 22963.362 |  |  |  | 10604 |  | 12675.7242 |  | 48 |  | 173.9794 |  | 24300.8867 |  | 1543.2766
Risk Methodology and Assessment | Situational Awareness & Forecasting | Wildfire Plan Mitigation Memorandum Account (WMPMA) | a) A.22-06-003 b) A.23-05-010 c) A.23-10-001 d) A.24-04-005 | a) D.24-03-008 b) N/A (Pending) c) N/A (Pending) d)N/A (Pending) | P9232 | N/A | [16 empty] | CPUC = 0 / FERC = 0
Risk Methodology and Assessment | Situational Awareness & Forecasting | Revenue Requirement Est.
Situational Awareness and Forecasting | Situational Awareness & Forecasting | Wildfire Plan Mitigation Memorandum Account (WMPMA) | a) A.22-06-003 b) A.23-05-010 c) A.23-10-001 d) A.24-04-005 | a) D.24-03-008 b) N/A (Pending) c) N/A (Pending) d)N/A (Pending) | P9232 | N/A | [5 empty] | 394 |  | 1496.9156 | [8 empty] | CPUC = 1891 / FERC = 0
Situational Awareness and Forecasting | Situational Awareness & Forecasting | Revenue Requirement Est. | [9 empty] | 394 |  | 1496.9156
Wildfire Mitigation Strategy Development | Stakeholder Cooperation and Community Engagement | Wildfire Plan Mitigation Memorandum Account (WMPMA) | a) A.22-06-003 b) A.23-05-010 c) A.23-10-001 d) A.24-04-005 | a) D.24-03-008 b) N/A (Pending) c) N/A (Pending) d)N/A (Pending) | P9232 | N/A | [5 empty] | 343 |  | 281 |  | 34 |  | 18 |  |  |  |  | CPUC = 624 / FERC = 52
Wildfire Mitigation Strategy Development | Stakeholder Cooperation and Community Engagement | Revenue Requirement Est. | [9 empty] | 343 |  | 281 |  | 34 |  | 18
Hazard Tree Management Program | Vegetation Management | Vegetation Management Balancing Account (VMBA) | a) A.19-08-013 b) A.22-06-003 c) A.23-05-010 d) A.23-10-001 e) A.24-04-005 | a) D.21-08-036 / D.23-11-096 b) D.24-03-008 c) N/A (Pending) d) N/A (Pending) e) N/A (Pending) | P9278 / P9289 | N/A | [5 empty] | 32946 |  | 47170.4333 |  | 30 |  | 646.0455 |  |  |  |  | CPUC = 80116 / FERC = 676 |  |  | (VM-1). See Description Tab
Hazard Tree Management Program | Vegetation Management | Base Revenue Requirement Balancing Account (BRRBA) | a) A.19-08-013 | a) D.21-08-036 / D.23-11-096 | P9019 | N/A |  | -3.315e-06 |  |  |  | -3.315e-06 | [7 empty] | 4541.4519 |  |  | CPUC = 4541 / FERC = 0
Hazard Tree Management Program | Vegetation Management | Fire Risk Mitigation Memorandum Account (FRMMA) | a) A.22-06-003 b) A.23-05-010 c) A.23-10-001 d) A.24-04-005 | a) D.24-03-008 b) N/A (Pending) c) N/A (Pending) d)N/A (Pending) | P9255 | N/A | [16 empty] | CPUC = 0 / FERC = 0
Hazard Tree Management Program | Vegetation Management | Revenue Requirement Est. | [5 empty] | -3.315e-06 |  |  |  | 32946 |  | 47170.4333 |  | 30 |  | 646.0455 |  | 4541.4519
Structure Brushing | Vegetation Management | Vegetation Management Balancing Account (VMBA) | a) A.19-08-013 b) A.22-06-003 c) A.23-05-010 d) A.23-10-001 e) A.24-04-005 | a) D.21-08-036 / D.23-11-096 b) D.24-03-008 c) N/A (Pending) d) N/A (Pending) e) N/A (Pending) | P9278 / P9289 | N/A | [5 empty] | 11167 |  | 26196.0019 | [8 empty] | CPUC = 37363 / FERC = 0 |  |  | (VM-2) See Description Tab
Structure Brushing | Vegetation Management | Base Revenue Requirement Balancing Account (BRRBA) | a) A.19-08-013 | a) D.21-08-036 / D.23-11-096 | P9019 | N/A | [5 empty] | 0 | [10 empty] | CPUC = 0 / FERC = 0
Structure Brushing | Vegetation Management | Revenue Requirement Est. | a) A.22-06-003 b) A.23-05-010 c) A.23-10-001 d) A.24-04-005 | a) D.24-03-008 b) N/A (Pending) c) N/A (Pending) d)N/A (Pending) | P9255 | N/A | [5 empty] | 11167 |  | 26196.0019
Expanded Clearances for Generation Legacy Facilities | Vegetation Management | Vegetation Management Balancing Account (VMBA) | a) A.19-08-013 b) A.22-06-003 c) A.23-05-010 d) A.23-10-001 e) A.24-04-005 | a) D.21-08-036 / D.23-11-096 b) D.24-03-008 c) N/A (Pending) d) N/A (Pending) e) N/A (Pending) | P9278 / P9289 | N/A | [16 empty] | CPUC = 0 / FERC = 0 |  |  | (VM-3) See Description Tab
Expanded Clearances for Generation Legacy Facilities | Vegetation Management | Base Revenue Requirement Balancing Account (BRRBA) | a) A.19-08-013 | a) D.21-08-036 / D.23-11-096 | P9019 | N/A | [16 empty] | CPUC = 0 / FERC = 0
Expanded Clearances for Generation Legacy Facilities | Vegetation Management | Fire Risk Mitigation Memorandum Account (FRMMA) | a) A.22-06-003 b) A.23-05-010 c) A.23-10-001 d) A.24-04-005 | a) D.24-03-008 b) N/A (Pending) c) N/A (Pending) d)N/A (Pending) | P9255 | N/A
Dead and Dying Tree Removal | Vegetation Management | Vegetation Management Balancing Account (VMBA) | a) A.19-08-013 b) A.22-06-003 c) A.23-05-010 d) A.23-10-001 e) A.24-04-005 | a) D.21-08-036 / D.23-11-096 b) D.24-03-008 c) N/A (Pending) d) N/A (Pending) e) N/A (Pending) | P9278 / P9289 | N/A | [5 empty] | 21660.8586 |  | -30137.5558 | [8 empty] | CPUC = -8477 / FERC = 0 |  |  | (VM-4) See Description Tab
Dead and Dying Tree Removal | Vegetation Management | Base Revenue Requirement Balancing Account (BRRBA) | a) A.19-08-013 | a) D.21-08-036 / D.23-11-096 | P9019 | N/A |  | 132011.7756 |  |  |  | 132011.7756 | [7 empty] | 145708.126 |  |  | CPUC = 277720 / FERC = 0
Dead and Dying Tree Removal | Vegetation Management | Fire Risk Mitigation Memorandum Account (FRMMA) | a) A.22-06-003 b) A.23-05-010 c) A.23-10-001 d) A.24-04-005 | a) D.24-03-008 b) N/A (Pending) c) N/A (Pending) d)N/A (Pending) | P9255 | N/A | [16 empty] | CPUC = 0 / FERC = 0
Dead and Dying Tree Removal | Vegetation Management | Revenue Requirement Est. | [5 empty] | 144412.6884 |  |  |  | 153672.6342 |  | -30137.5558 | [5 empty] | 145708.126
Vegetation Management Work Management Tool (Arbora) | Vegetation Management | Vegetation Management Balancing Account (VMBA) | a) A.19-08-013 b) A.22-06-003 c) A.23-05-010 d) A.23-10-001 e) A.24-04-005 | a) D.21-08-036 / D.23-11-096 b) D.24-03-008 c) N/A (Pending) d) N/A (Pending) e) N/A (Pending) | P9278 / P9289 | N/A | [7 empty] | 0 | [8 empty] | CPUC = 0 / FERC = 0 |  |  | (VM-6) See Description Tab
Vegetation Management Work Management Tool (Arbora) | Vegetation Management | Base Revenue Requirement Balancing Account (BRRBA) | a) A.19-08-013 | a) D.21-08-036 / D.23-11-096 | P9019 | N/A | [16 empty] | CPUC = 0 / FERC = 0
Vegetation Management Work Management Tool (Arbora) | Vegetation Management | Fire Risk Mitigation Memorandum Account (FRMMA) | a) A.22-06-003 b) A.23-05-010 c) A.23-10-001 d) A.24-04-005 | a) D.24-03-008 b) N/A (Pending) c) N/A (Pending) d)N/A (Pending) | P9255 | N/A | [7 empty] | 21525.6216 | [8 empty] | CPUC = 21526 / FERC = 0
Vegetation Management Work Management Tool (Arbora) | Vegetation Management | Revenue Requirement Est. | [11 empty] | 21525.6216
Distribution Vegetation Management | Vegetation Management | Vegetation Management Balancing Account (VMBA) | a) A.19-08-013 b) A.22-06-003 c) A.23-05-010 d) A.23-10-001 e) A.24-04-005 | a) D.21-08-036 / D.23-11-096 b) D.24-03-008 c) N/A (Pending) d) N/A (Pending) e) N/A (Pending) | P9278 / P9289 | N/A | [5 empty] | 350899.4945 |  | 381141.3037 | [8 empty] | CPUC = 732041 / FERC = 0 |  |  | See Description Tab
Distribution Vegetation Management | Vegetation Management | Base Revenue Requirement Balancing Account (BRRBA) | a) A.19-08-013 | a) D.21-08-036 / D.23-11-096 | P9019 | N/A |  | 868919.3207 |  |  |  | 868919.3207 | [7 empty] | 2021184.0469 |  |  | CPUC = 2890103 / FERC = 0
Distribution Vegetation Management | Vegetation Management | Fire Risk Mitigation Memorandum Account (FRMMA) | a) A.22-06-003 b) A.23-05-010 c) A.23-10-001 d) A.24-04-005 | a) D.24-03-008 b) N/A (Pending) c) N/A (Pending) d)N/A (Pending) | P9255 | N/A | [5 empty] | 14847 |  | 23155 | [8 empty] | CPUC = 38002 / FERC = 0
Distribution Vegetation Management | Vegetation Management | Revenue Requirement Est. | [5 empty] | 919278.4975 |  |  |  | 1234665.8152 |  | 404296.3037 | [5 empty] | 2021184.0469
Transmission Vegetation Management | Vegetation Management | Vegetation Management Balancing Account (VMBA) | a) A.19-08-013 b) A.22-06-003 c) A.23-05-010 d) A.23-10-001 e) A.24-04-005 | a) D.21-08-036 / D.23-11-096 b) D.24-03-008 c) N/A (Pending) d) N/A (Pending) e) N/A (Pending) | P9278 / P9289 | N/A | [5 empty] | 18817.3887 |  | 191.3785 |  | 19109 |  | 25184.5969 |  |  |  |  | CPUC = 19009 / FERC = 44294 |  |  | See Description Tab
Transmission Vegetation Management | Vegetation Management | Base Revenue Requirement Balancing Account (BRRBA) | a) A.19-08-013 | a) D.21-08-036 / D.23-11-096 | P9019 | N/A |  | 50124.1013 |  |  |  | 50124.1013 | [7 empty] | 141670.0922 |  | 126521.9165 | CPUC = 191794 / FERC = 126522
Transmission Vegetation Management | Vegetation Management | Fire Risk Mitigation Memorandum Account (FRMMA) | a) A.22-06-003 b) A.23-05-010 c) A.23-10-001 d) A.24-04-005 | a) D.24-03-008 b) N/A (Pending) c) N/A (Pending) d)N/A (Pending) | P9255 | N/A | [5 empty] | 970 |  | 2292 |  | 857 |  | 2024 |  |  |  |  | CPUC = 3262 / FERC = 2881
Transmission Vegetation Management | Vegetation Management | Revenue Requirement Est. | [5 empty] | 52938.2943 |  |  |  | 69911.49 |  | 2483.3785 |  | 19966 |  | 27208.5969 |  | 141670.0922 |  | 0
LiDAR Distribution Vegetation Inspections | Vegetation Management | Vegetation Management Balancing Account (VMBA) | a) A.19-08-013 b) A.22-06-003 c) A.23-05-010 d) A.23-10-001 e) A.24-04-005 | a) D.21-08-036 / D.23-11-096 b) D.24-03-008 c) N/A (Pending) d) N/A (Pending) e) N/A (Pending) | P9278 / P9289 | N/A | [5 empty] | 1196 |  | 2259.6522 | [8 empty] | CPUC = 3456 / FERC = 0 |  |  | (VM-9) See Description Tab
LiDAR Distribution Vegetation Inspections | Vegetation Management | Base Revenue Requirement Balancing Account (BRRBA) | a) A.19-08-013 | a) D.21-08-036 / D.23-11-096 | P9019 | N/A | [16 empty] | CPUC = 0 / FERC = 0
LiDAR Distribution Vegetation Inspections | Vegetation Management | Fire Risk Mitigation Memorandum Account (FRMMA) | a) A.22-06-003 b) A.23-05-010 c) A.23-10-001 d) A.24-04-005 | a) D.24-03-008 b) N/A (Pending) c) N/A (Pending) d)N/A (Pending) | P9255 | N/A | [16 empty] | CPUC = 0 / FERC = 0
LiDAR Distribution Vegetation Inspections | Vegetation Management | Revenue Requirement Est. | [9 empty] | 1196 |  | 2259.6522
LiDAR Transmission Vegetation Inspections | Vegetation Management | Vegetation Management Balancing Account (VMBA) | a) A.19-08-013 b) A.22-06-003 c) A.23-05-010 d) A.23-10-001 e) A.24-04-006 | a) D.21-08-036 / D.23-11-096 b) D.24-03-008 c) N/A (Pending) d) N/A (Pending) e) N/A (Pending) | P9278 / P9290 | N/A | [5 empty] | 3818 |  | 9106.0599 | [8 empty] | CPUC = 12924 / FERC = 0 |  |  | (VM-10) See Description Tab
LiDAR Transmission Vegetation Inspections | Vegetation Management | Base Revenue Requirement Balancing Account (BRRBA) | a) A.19-08-014 | a) D.21-08-036 / D.23-11-097 | P9491 | N/A | [16 empty] | CPUC = 0 / FERC = 0
LiDAR Transmission Vegetation Inspections | Vegetation Management | Revenue Requirement Est. | a) A.22-06-003 b) A.23-05-010 c) A.23-10-001 d) A.24-04-005 | a) D.24-03-008 b) N/A (Pending) c) N/A (Pending) d)N/A (Pending) | P9727 | N/A | [5 empty] | 3818 |  | 9106.0599 | [8 empty] | CPUC = 12924 / FERC = 0
Other VM Programs (not listed above) | Vegetation Management | Vegetation Management Balancing Account (VMBA) | a) A.19-08-013 b) A.22-06-003 c) A.23-05-010 d) A.23-10-001 e) A.24-04-007 | a) D.21-08-036 / D.23-11-096 b) D.24-03-008 c) N/A (Pending) d) N/A (Pending) e) N/A (Pending) | P9278 / P9291 | N/A | [16 empty] | CPUC = 0 / FERC = 0
Other VM Programs (not listed above) | Vegetation Management | Base Revenue Requirement Balancing Account (BRRBA) | a) A.19-08-015 | a) D.21-08-036 / D.23-11-098 | P9963 | N/A | [13 empty] | 225377.9482 |  |  | CPUC = 225378 / FERC = 0
Other VM Programs (not listed above) | Vegetation Management | Fire Risk Mitigation Memorandum Account (FRMMA) | a) A.22-06-003 b) A.23-05-010 c) A.23-10-001 d) A.24-04-005 | a) D.24-03-008 b) N/A (Pending) c) N/A (Pending) d)N/A (Pending) | P10199 | N/A | [16 empty] | CPUC = 0 / FERC = 0
Note on K16: Christopher Benitez: $1,647 FRRMA
Note on L16: Christopher Benitez: Removed $5,121 for Community Outreach