Charge Ready Program

- Site Plan Job Aid

- Parking Garage (Single or Multi-Level) Site Plan Example

- Example of a Site Layout That Would Require Multiple Applications

- Examples of Power Sources

- Site Plan Job Aid

Please follow these steps for using Google Maps to identify the preferred charging station location(s) at your site and submitting them to SCE.

- Navigate to google.com/maps:

2.  Enter your business address in the “Search” field:

3.  A street view of your location will appear on the left side of the screen:

4.  Double click near the location or use the “Zoom In” tool to get a close-up view of your location:

5.  Click the “Satellite” tool to switch to Satellite View:

6.  Use a screen capture tool (for example, Snagit or the Microsoft Snipping Tool) or use your keyboard’s “Control>Print Screen” command to copy your satellite image, then paste it into a Word document:

7.  Use the “Insert>Shapes” tool in Word to draw boxes around your preferred locations:

8. Save your Word document as a PDF file:

9. Upload your site plan to the Program Enrollment Portal.

Charge Ready Program

- Parking Garage (Single or Multi-Level) Site Plan Example

Required Items:

- Parking garage layout/map marked with desired location for charging stations

- Photo of parking spaces marked with desired location for charging stations

- Satellite image of property

Tips:

- If requesting charging stations on multiple levels, ideally, they are stacked on top of each other for feasibility purposes.

- If possible, charging stations should be located near the existing SCE transformer at the site. Alternatively, a location near the existing electric room may increase likelihood of project viability (identify on map if possible).

Ports requested: 14

Parking garage level: 1 (underground)

Charge Ready Program

- Example of a Site Layout that would

require multiple applications

If the locations of the requested charging stations are not clustered together, then each cluster/grouping will require its own application.

Please see example below of a site layout that would require two applications for each group of requested ports.

Charge Ready Program

- Examples of Power Sources

The images below are provided to help identify the type of power source at your site. While these examples are the most common types, your site may differ.

Examples of Single-Phase (Multifamily/Residential) Pad-Mounted Transformers

Example of Three-Phase (Commercial Building or Service) Pad-Mounted Transformer Installation on a Pad

Example of Pad-Mounted Equipment

Examples of a Single-Phase Transformer (left) and Three-Phase Transformer (right) on a Pole

*Note: There may be 1, 2 or 3 transformers on a pole.

Example of an underground transformer

Please email ChargeReady@sce.com with any questions regarding site layouts.